## Bacti
Note: All applicable information must be supplied for compliance credit.
Water System Number: | [7 empty] | NC | 0 | 3 | - | 4 | 3 | - | 0 | 4 | 5 |  |  |  | County: |  |  | HARNETT
Name of Water System: | [6 empty] | HARNETT REGIONAL WATER | [13 empty] | System Type: |  |  |  | C |  |  | Water Source: |  |  |  | SW
Distribution System — Revised Total Coliform Rule (RTCR) Facility ID: D01
— OR —
| Sample Type: |  |  |  |  | Routine (RT) |  |  |  |  | Repeat (RP) |  |  |  | X | Special / Non-compliance (SP)
| Location Code: _ _ _ _ | [6 empty] | Tap Location: ____________________ | [8 empty] | Street Address: _____________________________ |  |  |  | Johnsonville Elem School Ph 1 | [7 empty] | City: _______________ |  | Cameron
|  | Check (√) if sample site is owned or controlled by water system. | [18 empty] | End of domestic line
Check (√) if sample site is a daycare or a K-12 school.
| Sample Point: |  |  |  |  | Routine Original (RTOR) | [6 empty] | Repeat-Original Tap (RPOR) | [7 empty] | Repeat-Upstream (RPUP) | [6 empty] | Repeat-Downstream (RPDN)
Source Water — Ground Water Rule (GWR)
| Sample Type: |  |  |  |  | Triggered (TG) |  |  |  |  | Additional/Confirmation (CO) | [7 empty] | Assessment (RT) | [5 empty] | Triggered/Distribution Repeat (TD) *
* for systems with a population < 1,000
| Facility ID: | [7 empty] | Sample Point:
Collected – |  |  |  | BY: | Alan Moss | [8 empty] | DATE: |  | 0 | 2 | / | 0 | 9 | / | 2 | 3 |  | TIME: | 1 | 1 | : | 2 | 0 | , | A | m
Mail Results to (water system representative): | [15 empty] | Complete for Repeat, Triggered, or Additional / Confirmation Samples:
Harnett Regional Water | [15 empty] | Previous Positive Laboratory ID Number:
PO Box 1119 | [15 empty] | " Positive Laboratory Log Number:
Lillington, NC 27546 | [15 empty] | " Positive Location Code:
Phone #: | [15 empty] | " Positive Collection Date: | [11 empty] | / |  |  | /
Fax #: | [15 empty] | Disinfectant Used: | [5 empty] | Chloramines
Responsible Person’s email: | [15 empty] | Total Chlorine Residual (chloramines): | [15 empty] | mg/L
[16 empty] | Free Chlorine Residual (chlorine): | [15 empty] | mg/L
Laboratory ID Number: | [6 empty] | 3 | 7 | 6 | 3 | 8 |  |  |  | Repeat Samples Required from Client | [11 empty] | Resample Required from Client
CONTAM CODE |  |  | CONTAMINANT | [5 empty] | METHOD CODE |  |  |  | RULE |  |  | RESULTS | [6 empty] | Invalid Code
[16 empty] | Present 1, 2 |  |  | Absent | [6 empty] | INVALID CODES:
3100 |  |  | Total Coliform | [9 empty] | RTCR/GWR | [5 empty] | X | [6 empty] | 1 | Confluent Growth / No Coliform Growth Found
3014 |  |  | E. coli | [9 empty] | RTCR/GWR | [5 empty] | X | [6 empty] | 2 | TNTC/No Coliform Growth Found
3002 |  |  | Enterococci | [9 empty] | GWR | [12 empty] | 3 | Turbid Culture / No Coliform Growth Found
3028 | 3028 |  | Coliphage | [9 empty] | GWR | [12 empty] | 4 | Over 30 Hours Old
3001 | 3013 |  | Heterotrophic P.C.3 | [15 empty] | cfu/mL or MPN | [6 empty] | 5 | Improper Sample or Analysis 4
1If E. coli, enterococci or coliphage is present, lab must report results to State on day test completed. 2If total coliform bacteria is present, lab must report results
to State within 48 hours. 3If HPC is absent, enter a "0" left of the "cfu/mL or MPN" units; if present, enter a whole number. 4Explain invalid code below in comments.
[6 empty] | Analyses Begun — | DATE: |  | 0 | 2 | / | 0 | 9 | / | 2 | 3 |  | TIME: | 1 | 2 | : | 1 | 5 | , | P | m | (Date as: mm/dd/yy)
[6 empty] | Analyses Completed — | DATE: |  | 0 | 2 | / | 1 | 0 | / | 2 | 3 |  | TIME: | 1 | 2 | : | 1 | 5 | , | P | m | (Time as: h:mm am/pm)
Laboratory Log Number: | [7 empty] | 2-23-58 | [7 empty] | Certified By: |  |  |  |  | TRACY TANT
(Print and sign name)
COMMENTS:
2016 | [16 empty] | NCDEQ | [11 empty] | FALSE
Public Water Supply Section