Fire Marshal Division

April 22, 2021

Jim Graves & Associates, Inc.

143 Meadowcroft Drive

Fayetteville, N.C.  28311

Re:	Jordan Temple Bible Church of God Renovation

75 Jordan Temple Lane

Lillington, NC 27546

Application Number BCOM2104-0005

To Whom It May Concern,

Thank you for submitting the plans for the church renovations. The plans have been carefully reviewed by a qualified code enforcement official to examine for compliance with the North Carolina Fire Prevention Code and all other fire protection regulatory documents.  There are some items that were found during the plan review process that need to be addressed before a final inspection of the new facility can be given.  These items are outlined and described below

- 1008.1.10  Panic Hardware

- UL 305 listed panic hardware is required on exit doors serving a room/space with an occupant load >50, also indicated on Building code summary. Panic hardware is not included on door schedule sheet B8 of Drawings

- Notes

- A final fire inspection is required.

- Schedule all fire inspections through the Fire Marshal’s Office.

(910) 893-7580

Thank you again for submitting the plans for the church renovations. Please review the plans and adhere to any notes and alterations that were made in addition to the original drawings.  These remarks are for the plans that were submitted and its original intent. These remarks do not apply if the original intent changes or what was submitted on the above date changes. If you have any questions, please do not hesitate to call this office.

Sincerely,

Roger Sullivan

Roger Sullivan

Deputy Fire Marshal