Fire Marshal Division

April 2, 2024

ADA Architects

17710 Detroit Ave.

Lakewood, Ohio 44107

Re: 	Harbor Freight

129 W. Cornelius Harnett BLVD.

Lillington, NC 27546

Application Number BCOM2403-0005

To whom may concern,

Thank you for submitting the plans for Harbor Freight. The plans have been reviewed by a qualified code enforcement official to examine for compliance with the North Carolina Fire Prevention Code and all other fire protection regulatory documents.  There are some items that were found during the plan review process that need to be addressed before a final inspection of the new facility can be given.  These items are outlined and described below.

If any alterations to the systems listed below it will need to be summitted for review.

Fire Alarm Systems

- Provide shop drawings from the installing contractor.

- Shop drawings shall include all information listed in section of the North Carolina Fire Prevention Code.

- System additions and modifications shall be in accordance with NFPA 72.

Sprinkler Systems

- Provide sprinkler shop drawings from the installing contractor.

- System additions and modifications shall be in accordance with NFPA 13.

- A system test and mechanical performance test is required.

Fire Extinguishers

- Fire extinguishers shall be installed within 75’ travel distance.

Notes

- Please call 910-893-0740 to schedule all Fire Marshal inspections.

- If life safety systems are required to be disabled during the project please notify the Fire Marshal’s office.

Thank you again for submitting the plans for the Harbor Freight. Please review the plan review notes and if you have any questions, please do not hesitate to call this office.

Sincerely,

Leslie Jackson

Chief Deputy Fire Marshal

lrjackson@harnett.org