[image: image1.jpg]




Fire Marshal Division

December 29, 2025
Re:
Ellie’s Antojitos Dulces y Salados Mexican Snack Bar

204 E Jackson Blvd. Suite A


Erwin, NC 28339

Application Number – BCOM2512-0006
To whom may concern,
Thank you for submitting the plans for Snack Bar. The plans have been carefully reviewed by a qualified code enforcement official to examine for compliance with the North Carolina Fire Prevention Code and all other fire protection regulatory documents.  There are some items that were found during the plan review process that need to be addressed before a final inspection of the new facility can be given.  These items are outlined and described below.

Bottom of Form

·  Physical Address

· The physical address of the building shall be posted in a conspicuous place so that it can be seen on approach from the road, access road, and/or parking lot.  Minimum size numbers shall be 6 inch.
·  Fire Extinguishers 
· Fire extinguishers shall be placed in approved locations and may be field verified on final inspection.

· The fire extinguishers provided shall have a minimum rating of 2A 10 B: C and shall not be installed higher than 5 feet above the finished floor.
· Notes
· If any cooking or warming that produces grease-laden vapors is being conducted, a hood suppression system shall  be installed. If an inspection is performed and this requirement is not met, a stop work order will be issued, and all cooking or warming activities must cease until compliance with code is achieved.
· Please schedule all Fire Marshal final with Harnett County Central Permitting at (910-893-7525 Opt. 1). 
Please review the plans and adhere to any notes and alterations that were made in addition to the original drawings.  These remarks are for the plans that were submitted and its original intent. These remarks do not apply if the original intent changes or what was submitted on the above date changes. If you have any questions, please do not hesitate to call this office

Again, thank you and we look forward to working with you during the construction period!

Sincerely,

Leslie Jackson
Leslie Jackson
Chief Deputy Fire Marshal
