[image: image1.wmf]

0



Fire Marshal Division

May 13, 2026
Associated Contract Services

Attn; John Tucker

141 Country Haven Lane

Fuquay-Varina, NC  27526

RE:
Jarco Business Center (Shell)

65 Jarco Drive

Fuquay-Varina, NC 27526
Application Number BCOM2605-0004
To Whom It May Concern,
Thank you for submitting the plans for the business center shell building. The plans have been carefully reviewed by a qualified code enforcement official to examine for full compliance with the North Carolina Fire Prevention Code and all other fire protection regulatory documents.  There are some items that were found during the plan review process that need to be addressed before a final inspection of the new facility can be given.  These items are outlined and described below.

· Physical Address

· The physical address of the building shall be posted in a conspicuous place so that it can be seen on approach from the road, access road, and/or parking lot.

· The numbers used to make up the physical address shall be at least 6 inches in height.
· Fire Extinguishers
· Fire Extinguishers shall be 2A:10BC and shall be placed with a travel distance to not exceed 75’

· Fire extinguishers are to be mounted no higher than 5’ above the finished floor.
· Knox Box
· A Knox box is required to be installed on the building.

· https://www.knoxbox.com/store/productConfigurator.cfm?sku=3261
· Notes

· The building plans have been reviewed for fire code compliance as a shell.  Any future occupancy deviating or making any changes to the floor plans must re-submit for approval.
· A final fire inspection is required.  Contact the Harnett County Central Permitting Office to schedule the final inspection at (910) 893-7525, option 1.  

[image: image2.jpg]



Thank you again for submitting the plans for the new business center shell building. Please review the plans and adhere to any notes and alterations that were made in addition to the original drawings. These remarks are for the plans that were submitted and its original intent. 
These remarks do not apply if the original intent changes or what was submitted on the above date changes. If you have any questions, please do not hesitate to call this office

Again, thank you and we look forward to working with you during the construction period!

Sincerely,

Roger Sullivan
Roger Sullivan
Deputy Fire Marshal

rsullivan@harnett.org

_1525259660.unknown

