## Slide 1
LINE on DESIGN
406 CAPTAIN HARBOUR DRIVE SANFORD, NC 28332
LEE D. NELSON
linrondesign19@gmail.com 919-498-6545
owner
project title
designer of record
contact
drawing title
TOM & CHERYL SHUMACHER 479 D.L. PHILLIPS LANE BROADWAY, NC 27505
north arrow
logo
date drawn
C-1
1 of 53
04/14/2023
LDN
CONSTRUCT ENTRY/ SUNROOM, PORCH AND COVERED STRUCTURE OVER POOL
SITE PLAN
POND
WOOD FENCE
WOOD FENCE
WOOD FENCE
PROPERTY LINE
PROPERTY LINE
PROPERTY LINE
WOOD FENCE
CONCRETE PAD
SHED
ABANDON WELL
GRAVEL DRIVE
GRAVEL DRIVE
GRAVEL DRIVE
SEPTIC TANK & FIELD
SHED
PROPERTY
LINE
WOOD LIGHT POLE
D.L. PLILLIPS LANE
SITE PLAN
SCALE: NONE
LOT 1
615,509 SF
14.13 ACRES
1
C-1.1
N 85° 52' 05" W
1,154.43'
N 04° 02' 33" E
476.83'
PROPERTY LINE
S 85° 52' 06" E 1,074.43'
S 04° 02' 33" W
813.00'
PROPERTY LINE S 04° 02' 33" W
644.92'
S 04° 02' 33" W
644.92'
F.I.R.
F.I.R.
F.I.R.
F.I.R.
S.I.R.
PROPERTY LINE
S.I.R.
F.I.R.

## Slide 2
LINE on DESIGN
406 CAPTAIN HARBOUR DRIVE SANFORD, NC 28332
LEE D. NELSON
linrondesign19@gmail.com 919-498-6545
owner
project title
designer of record
contact
drawing title
TOM & CHERYL SHUMACHER 479 D.L. PHILLIPS LANE BROADWAY, NC 27505
north arrow
logo
date drawn
C-1.1
2 of 53
04/14/2023
LDN
CONSTRUCT ENTRY/ SUNROOM, PORCH AND COVERED STRUCTURE OVER POOL
ENLARGED SITE PLAN
SITE PLAN - ENLARGED
64
SCALE: 1 " = 1'-0"
1
C-1.1
POND
WOOD FENCE
WOOD FENCE
WOOD FENCE
PROPERTY LINE
CONCRETE PAD
ABANDONED WELL
GRAVEL DRIVE
SEPTIC TANK & FIELD
SHED
CONCRETE PAVED DRIVEWAY
SHED
SHED
SHED
WOOD FENCE
WOOD FENCE
WOOD FENCE
F.I.R.
PROPERTY LINE
PROPERTY LINE
N 85° 52'05" W
1,154.43'
S 04° 02' 33" W
1,289.84'
EXISTING TWO STORY RESIDENCE WITH HABITABLE LIVING AREA OVER THREE CAR GARAGE AND WALK IN UNFINSHISHED ATTIC.
NEW PROJECT ADDS MAIN ENTRY, COVERED PORCH,SUNROOM, AND FINISHED ATTIC.
3 bay garage under permit BRES2404-009

## Slide 3
LINE on DESIGN
406 CAPTAIN HARBOUR DRIVE SANFORD, NC 28332
LEE D. NELSON
linrondesign19@gmail.com 919-498-6545
owner
project title
designer of record
contact
drawing title
TOM & CHERYL SHUMACHER 479 D.L. PHILLIPS LANE BROADWAY, NC 27505
north arrow
logo
date drawn
C-2
3 of 53
04/14/2023
LDN
CONSTRUCT ENTRY/ SUNROOM, PORCH AND COVERED STRUCTURE OVER POOL
PAVEMENT AND DETAIL
16
SCALE: 1 " = 1'-0"
PAVEMENT PLAN 1
C-2
4'
6'-7"
1'-73 8"
15'-05 8"
6'-11"
3'
7'-4"
12'-712"
1'-73 8"
R2'
R3'
R2'
1
12'-5
7
8
"
R2'
ENTRY/ SUNROOM
UP
COVERED PORCH
MAIN ENTRY
2
1 BATH
CONCRETE PAVED DRIVEWAY
UP
ONE STORY WITH ATTIC SPACE
BENCH
2
SCALE: 1" = 1'-0"
DETAIL 3
C-2
VARIOUS WIDTHS
6"
2"
LANDSCAPE FABRIC
4" COMPACTIBLE GRAVEL
SUB-BASE.
RIGID PLASTIC EDGING.
2" SAND
2
SCALE: 1" = 1'-0"
DETAIL 2
C-2
REFER TO PAVEMENT PLAN
4"
6"
4" CONCRETE SIDEWALK WITH WELDED WIRE FABRIC; 6 x 6 - W1.4 X W1.4
4
2 3" SAND
ELEVATION OF FLAGSTONE SURFACE MUST MATCH ADJACENT CONCRETE SIDEWALK.
ELEVATION OF CONCRETE SIDEWALK SURFACE MUST MATCH ADJACENT FLAGSTONE WALKWAY.
EXCAVATE SOIL
MAIN ENTRY STAIRS #3,
REFER TO C-4
4'
EXISTING ACCESS PANEL
CONCRETE POOL DECK

## Slide 6
LINE on DESIGN
406 CAPTAIN HARBOUR DRIVE SANFORD, NC 28332
LEE D. NELSON
linrondesign19@gmail.com 919-498-6545
owner
project title
designer of record
contact
drawing title
TOM & CHERYL SHUMACHER 479 D.L. PHILLIPS LANE BROADWAY, NC 27505
north arrow
logo
date drawn
FRONT ELEVATION
REAR ELEVATION
SCALE: 1 " = 1'-0"
A-8
26 of 53
CONSTRUCT ENTRY/ SUNROOM, PORCHAND AND COVERED STRUCTURE OVER POOL
04/14/2023
LDN
ELEVATIONS - FRONT & REAR
EXISTING 2" x 8" WOOD SIDING - YELLOW PINE
2" x 8" WOOD
SIDING - YELLOW
PINE
FINISH GRADE
FINISH GRADE
16
EXISTING ASPHALT
ROOF
2
METAL ROOF @ 1-1" x 12"
ROOF SLOPE.
2" x 8" WOOD
SIDING - YELLOW
PINE
THIN RED
BRICK
MAIN ENTRY
POOL DECK
METAL ROOF
@ 1-1" /12"
2
ROOF
SLOPE
OPEN
THREE CAR GARAGE COVERED PORCH
NEW CONCRETE
STAIRS
EXISTING ASPHALT ROOF
EXISTING 2" x 8" WOOD SIDING - YELLOW PINE
NEW OPERABLE WINDOW, SEE NOTE 1.
THIN RED
BRICK
THIN RED BRICK
MAIN ENTRY
POOL DECK
METAL ROOF
@ 12"/12" ROOF SLOPE
METAL ROOF @ 12"/12" ROOF SLOPE
OPEN
BLOCK-UP OPENING, SEE NOTE 3.
36" OUTDOOR FIREPLACE - STONE
10" x 10" STEEL
COLUMN ANCHORED TO CONCRETE FOOTING - TYPICAL.
PLATFORM OPEN UNDERNEATH.
LINE OF FINISH FLOOR
ENTRY / SUNROOM
COVERED STRUCTURE OVER POOL AND POOL DECK
44'-5"
3'-6"
12'
EXISTING ASPHALT ROOF
LINE OF BOTTOM OF STRUCTURAL STEEL
BEAM.
3'-6"
7'-77 8"
3'-6"
3'-6"
W-1
CRICKET
3' -0" CIRCULAR
WINDOW W-2
W-2
W-2
W-2
6'-5"
GUARDRAIL, SEE NOTE 2
HANDRAIL
3'-8"
SCALE: 1 " = 1'-0"
16
NOTES:
1. INSTALL NEW WINDOW TO INCLUDE WOOD SIDING, WOOD FRAMING, ASSOCIATED MATERIALS FOR NEW WINDOW WORK. THE CONTRACTOR SHALL VERIFY LENGTH AND HEIGHT DIMENSIONS FROM ADJACENT EXISTING DORMER WINDOWS. CENTER WINDOW OPENING ON WALL.ALIGN WINDOW SILLS IN HEIGHT.
2. REFER TO DRAWING SHEETS C-3 AND C-4 FOR HANDRAIL AND GUARDRAIL SPECIFICATIONS, CONCERNING ALL LOCATIONS, EXCEPT THE POOL DECK AREA..
NOTE 4: REMOVED SINCE STAIRS ARE NOT MOVING.
NOTE 5: FOUNDATION VENTS CENTERED UNDER WINDOWS.
NOTE 3: REMOVED DOOR IS STAYING PLACE.

## Slide 7
LINE on DESIGN
406 CAPTAIN HARBOUR DRIVE SANFORD, NC 28332
LEE D. NELSON
linrondesign19@gmail.com 919-498-6545
owner
project title
designer of record
contact
drawing title
north arrow
logo
date drawn
A8.1
27 of 53
04/14/2023
LDN
CONSTRUCT ENTRY/ SUNROOM, PORCH AND COVERED STRUCTURE OVER POOL
DOOR & WINDOW ELEVATIONS
WINDOW ELEVATIONS
SCALE: 1" = 1'- 0"
2
A8.1
4
SCALE: 1" = 1'- 0"
1
A8.1
Ø3'
4'-5"
5'-4"
5'
7'
7'
6'-8"
6'-8"
100
101
102
200
W-3
W-2
W-1
ALUMINUM, CASEMENT, WHITE FINISH
5'-23 8"
ALUMINUM, CIRCULAR, WHITE FINISH
ALUMINUM, SINGLE-HUNG, WHITE FINISH
3' 3'
DOOR ELEVATIONS
3'
1"x WOOD TRIM TO MATCH EXISITNG IN WOOD SPECIES, SIZE, PROFILE, FINISH AND COLOR.
TOM & CHERYL SHUMACHER 479 D.L. PHILLIPS LANE BROADWAY, NC 27505
EXTERIOR, FIBERGLASS
DOOR, 2-PANELS,
1 GLASS
GLASS
GLASS
WOOD COMPOSITE DOOR,
3-PANEL
WOOD, SOLID CORE DOOR,
GLASS
2'-4"
EXTERIOR, FIBERGLASS DOOR, 1-PANEL, 1 GLASS
INSULATED GLASS
INSULATED GLASS
1-3/4" THICK
1-3/4" THICK
1-3/8" THICK
1-3/8" THICK
1"x WOOD TRIM TO MATCH EXISITNG IN WOOD SPECIES, SIZE, PROFILE, FINISH AND COLOR.
CRAFTSMAN SERIES SP-866
CRAFTSMAN SERIES SP-864DG
CRAFTSMAN III
4

## Slide 8: ROOM FINISH SCHEULDE ROOM # NAME FLOOR BASE
LINE on DESIGN
406 CAPTAIN HARBOUR DRIVE SANFORD, NC 28332
LEE D. NELSON
linrondesign19@gmail.com 919-498-6545
owner
project title
designer of record
contact
drawing title
TOM & CHERYL SHUMACHER 479 D.L. PHILLIPS LANE BROADWAY, NC 27505
north arrow
logo
date drawn
A-8.2
28 of 53
04/14/2023
LDN
CONSTRUCT ENTRY/ SUNROOM, PORCH AND COVERED STRUCTURE OVER POOL
ROOM FINISH SCHEDULE
COVERED PORCH
MAIN ENTRY
ENTRY / SUNROOM
COVERED STRUCTURE
CONCRETE
CERAMIC TILE
PORCELAIN TILE
WOOD
LUXURY VINYL TILE (LVT)
WOOD SIDING
GYPSUM WALLBOARD
BRICK
GYPSUM WALLBOARD
BEADBOARD
VARIES
2
1 BATH
KEY TO WALL FINISH
CIRCLE INDICATES WALLS ON WHICH FINISH OCCURS
PLAN NORTH
A. STAIN WOOD SIDING TO MATCH EXISTING IN STAIN TYPE, SHEEN AND COLOR. APPLY TWO COATS.
B. PANT BEADBOARD WITH EXTERIOR LATEX PAINT. APPLY TWO COATS.
C. PAINT BEADBOARD WITH INTERIOR LATEX PAINT. APPLY TWO COATS.
D. PAINT GYPSUM WALLBOARD WALLS WITH INTERIOR LATEX PAINT. APPLY TWO COATS.
E.PAINT EXTERIOR SOFFITS WITH EXTERIOR LATEX PAINT, APPLY TWO COATS.
F. STAIN EXISTING WOOD SIDING.
NOTES:
1. ALL INTERIOR WOOD MOLDING TO INCLUDE CASING, JAMBS, QUARTER ROUNDS, TRIM, ETC., SHALL MATCH EXISTING IN SIZE, THICKNESS, SHAPE, PROFILE, WOOD SPECIES, FINISH, AND COLOR. PAINT MOLDING TO MATCH EXISTING SHEEN AND COLOR. APPLY TWO COATS.
INSTALL DOOR THRESHOLDS AND WEATHER-STRIPPING AT EXTERIOR DOOR LOCATIONS. THE THRESHOLDS SHALL MATCH EXISTING THRESHOLDS IN STYLE, DESIGN, PROFILE, FINISH AND COLOR.
INSTALL DOOR HARDWARE TO INCLUDE HINGES, LOCKSETS, DEADBOLTS AND ASSOCIATED HARDWARE ITEMS PER MANUFACTURES' INSTRUCTION. HARDWARE FINISH AND COLOR SHALL MATCH EXISTING.
BEADBOARD: REFER TO SPECIFICATIONS.
5. PAINT EXTERIOR EXPOSED STEEL COLUMNS BROWN AS SELECTED BY THE HOME OWNERS.
PAINT DOORS TO MATCH EXISTING IN SHEEN AND COLOR. APPLY TWO COATS.
WINDOWS SHALL BE PRE-FINISHED, WHITE IN COLOR.
VINYL
B F
A B
C D
WALLS
CEILINGS
HGT.
REMARKS
NOTES
A C D
A B E F

## Slide 9
LINE on DESIGN
406 CAPTAIN HARBOUR DRIVE SANFORD, NC 28332
LEE D. NELSON
linrondesign19@gmail.com 919-498-6545
owner
project title
designer of record
contact
drawing title
TOM & CHERYL SHUMACHER 479 D.L. PHILLIPS LANE BROADWAY, NC 27505
north arrow
logo
date drawn
A-9
29 of 53
04/14/2023
LDN
CONSTRUCT ENTRY/ SUNROOM, PORCH AND COVERED STRUCTURE OVER POOL
ROOF PLAN
ROOF PLAN
SCALE: 1 " = 1'- 0"
CONCRETE PAVED DRIVEWAY
EXISTING ASPHALT SHINGLE ROOF
EXISTING ASPHALT SHINGLE ROOF
ASPHALT SHINGLE ROOF
ASPHALT SHINGLE ROOF
METAL ROOF
METAL ROOF
RIDGE VENT
s
s
s
s
w
w
w
LEGEND
STEEL COLUMN (S)
WOOD COLUMN (W)
DOWNSPOUT (DS) - NOT USED
GUARDRAIL AND HANDRAIL POST
w
w
w
w
4" CONCRETE STAIR LANDING
ROOF SLOPE DIRECTION - DOWN
TREE
TREE
36" OUTDOOR FIREPLACE
SLOPE DN
SLOPE DN
SLOPE DN
SLOPE DN
SLOPE SLOPE
DN DN
w
w
w
ASPHALT
w
w
w
w
w
w w
w
w w
SHINGLE ROOF
w
w
RIDGE VENT
RIDGE RIDGE
VENT
INSTALL CRICKET.
4 GROUPED SKYLIGHTS ABOVE POOL
16

## Slide 10
LINE on DESIGN
406 CAPTAIN HARBOUR DRIVE SANFORD, NC 28332
LEE D. NELSON
linrondesign19@gmail.com 919-498-6545
owner
project title
designer of record
contact
drawing title
TOM & CHERYL SHUMACHER 479 D.L. PHILLIPS LANE BROADWAY, NC 27505
drawing sheet
north arrow
logo
date drawn
A-14
35 of 53
04/14/2023
LDN
CONSTRUCT ENTRY/ SUNROOM, PORCH AND COVERED STRUCTURE OVER POOL
REFLECTED CEILING PLAN
REFLECTED CEILING PLAN - RENOVATION AND ADDITION
8
SCALE: 1" = 1'-0"
COVERED PORCH
MAIN
ENTRY
ENTRY/SUNROOM
1 BATH
ONE-STORY WITH
ATTIC SPACE
TWO STORY WITH THREE CAR GARAGE
2
6" x 6" WOOD COLUMN
WOOD BEAM
6" x 6" WOOD COLUMN
NOTE: INSTALL BEADBOARD ON CEILING IN THE FOLLOWING AREAS: MAIN ENTRY, COVERED PORCH, ENTRY / SUNROOM, AND
2
1 BATH.
LINE OF CONCRETE PAVED DRIVEWAY.
WOOD BEAM
LINE OF CONCRETE RAMP
LINE OF ROOF OVERHANG
LINE OF ROOF OVERHANG
LINE OF ROOF OVERHANG
LINE OF ROOF OVERHANG
TREE
6" x 6" WOOD COLUMN
WOOD BEAM
LINE OF ROOF OVERHANG
POOL DECK
3’-4 – 4’"
CASED OPENING

## Slide 11
LINE on DESIGN
406 CAPTAIN HARBOUR DRIVE SANFORD, NC 28332
LEE D. NELSON
linrondesign19@gmail.com 919-498-6545
owner
project title
designer of record
contact
drawing title
TOM & CHERYL SHUMACHER 479 D.L. PHILLIPS LANE BROADWAY, NC 27505
north arrow
logo
date drawn
D-1
04/14/2023
LDN
CONSTRUCT ENTRY/ SUNROOM, PORCH AND COVERED STRUCTURE OVER POOL
FLOOR PLAN - DEMOLITION
FLOOR PLAN - DEMOLITION
CONCRETE PAVED DRIVEWAY
TWO STORY WITH THREE CAR GARAGE
REMOVE DOOR, DOOR FRAME, HARDWARE, WOOD SIDING, SHEATHING, AND ASSOCIATED MATERIALS TO PREPARE FOR BLOCKED OPENING, REFER TO ARCHITECTURAL
DRAWINGS.
POOL DECK
POOL
UP
STAIRS
UP
NOTE:
1. HOME OWNER WILL REMOVE GUARDRAILS, POSTS, HANDRAILS, GLASS INSERTS, AND ASSOCIATED HARDWARE AROUND POOL DECK, COMPLETE.
2. REMOVE LANDSCAPE ASSOCIATED WITH PROJECT AREA.
3. REMOVE WOOD FENCE TO THE EXTENT AS DIRECTED BY HOMEOWNER.
4. REMOVE ROOF OVERHANG AS INDICATED TO INCLUDE SHINGLES, ROOF SHEATHING, WOOD FRAMING, AND ASSOCIATED MATERIALS. THE CONTRACTOR SHALL SECURELY PROTECT EXPOSED EXTERIOR AND INTERIOR MATERIALS AND FINISHES UNTIL EXISTING STRUCTURE IS WEATHER TIGHT. COORDINATE WITH ARCHITECTURAL DRAWINGS FOR SCOPE.
5. REMOVE WOOD SIDING, SHEATHING, AND ASSOCIATED MATERIALS AND FINISHES. THE CONTRACTOR SHALL PROTECT EXPOSED EXTERIOR AND INTERIOR MATERIALS AND FINISHES UNTIL EXISTING STRUCTURE IS WEATHER TIGHT.
6. THE CONTRACTOR MUST VERIFY EXISTING WINDOW SITE CONDITION (HEADER HEIGHT, SIZE AND SPAN OF REMOVED WINDOWS). MODIFY, BRACE, AND CONSTRUCT CASED OPENING TO INCLUDE STRUCTURAL HEADER, AND FRAMING TO MAINTAIN A FINISHED 3'-4" x 6'-8" OPENING. INSTALLED FRAMED WOOD TRIM TO MATCH EXISTING IN SIZE,
PROFILE, AND FINISH.
TREE
TREE
HOMEOWNER TO REMOVE LANDSCAPE, SEE NOTE 2.
THE CONTRACTOR SHALL PROTECT AND NOT DAMAGE EXISTING TREE AROUND POOL DECK AREA.
THE CONTRACTOR SHALL PROTECT AND NOT DAMAGE EXISTING TREE AROUND POOL DECK AREA.
ONE-STORY WITH ATTIC SPACE
REMOVE ROOF
OVERHANG, SEE NOTE 4.
REMOVE WINDOW, WINDOW FRAME, HARDWARE, WOOD SIDING, SHEATHING, FINISHES, AND ASSOCIATED MATERIALS (EXTERIOR AND INTERIOR) TO PREPARE FOR BLOCKED OPENING, REFER TO ARCHITECTURAL DRAWINGS.
REMOVE FOUNDATION VENTS AND ACCESS DOOR.
REMOVE EXISTING WINDOW
REMOVE WOOD SIDING
REMOVE ROOF OVERHANG, SEE NOTE 4.
SEE NOTE 5.
1'-312"
SEE NOTE 6.
7 of 53
drawing sheet
SCALE: 1 " = 1'-0"
16

## Slide 12
LINE on DESIGN
406 CAPTAIN HARBOUR DRIVE SANFORD, NC 28332
LEE D. NELSON
linrondesign19@gmail.com 919-498-6545
owner
project title
designer of record
contact
drawing title
TOM & CHERYL SHUMACHER 479 D.L. PHILLIPS LANE BROADWAY, NC 27505
north arrow
logo
date drawn
D-2
8 of 53
04/14/2023
LDN
CONSTRUCT ENTRY/ SUNROOM, PORCH AND COVERED STRUCTURE OVER POOL
ELEVATIONS - DEMOLITION
FRONT ELEVATION - DEMOLITION
REAR ELEVATION - DEMOLITION
16
SCALE: 1 " 1'-0"
2" x 8" WOOD SIDING - YELLOW PINE
2" x 8" WOOD SIDING - YELLOW PINE
FINISH GRADE
FINISH GRADE
2" x 8" WOOD SIDING - YELLOW PINE - NEW
ASPHALT SHINGLE ROOF
2" x 8" WOOD
SIDING - YELLOW PINE
RED BRICK
FINISH GRADE
GRADE
ASPHALT SHINGLE ROOF
ASPHALT SHINGLE ROOF
CMU BLOCK
REMOVE WINDOW, WINDOW FRAME, HARDWARE, WOOD SIDING, SHEATHING, AND ASSOCIATED MATERIALS FOR NEW WORK. THE CONTRACTOR MUST VERIFY WINDOW HEADER HEIGHT, SIZE, AND SPAN TO SUPPORT APPLIED LOADS. MODIFY AND CONSTRUCT A CASED OPENING TO MAINTAIN A FINISHED 6'-8" HEIGHT OPENING, SEE ARCHITECTURAL DRAWINGS.
CMU BLOCK
REMOVE WOOD SIDING, WOOD FRAMING, ASSOCIATED MATERIALS FOR NEW WORK, SEE ARCHITECTURAL DRAWINGS. THE CONTRACTOR SHALL VERIFY LENGTH AND HEIGHT DIMENSIONS FROM ADJACENT EXISTING DORMER WINDOWS. CENTER WINDOW OPENING ON WALL.ALIGN WINDOW SILLS IN HEIGHT.
VERIFY
VERIFY
ALIGN WINDOW SILLS
VERIFY
REMOVE ACCESS
DOOR
REMOVE
FOUNDATION VENT
NOTES:
1. THE CONTRACTOR MUST REMOVE WOOD SIDING, SHEATHING, AND ASSOCIATED MATERIALS TO INSTALL LEDGER BOARDS AT FLOOR AND ROOF LOCATIONS TO SUPPORT NEW STRUCTURAL MEMBERS AND ASSOCIATED WORK, REFER TO ARCHITECTURAL DRAWINGS. THE CONTRACTOR MUST PROTECT ADJACENT AREAS FROM DAMAGE.
2. ROOF OVERHANG REMOVAL, REFER TO FLOOR PLAN - DEMOLITION - D-1.
ASPHALT SHINGLE ROOF
NOT REMOVING WINDOW, WINDOW FRAME, HARDWARE, WOOD SIDING, SHEATHING, FINISHES, AND ASSOCIATED MATERIALS (EXTERIOR AND INTERIOR) TO PREPARE FOR BLOCKED OPENING, REFER TO ARCHITECTURAL DRAWINGS.
CRAWL SPACE ACCESS, COORDINATE WITH ARCHITECTURAL DRAWINGS.
SCALE: 1 " = 1'-0"
16

## Slide 13
LINE on DESIGN
406 CAPTAIN HARBOUR DRIVE SANFORD, NC 28332
LEE D. NELSON
linrondesign19@gmail.com 919-498-6545
owner
project title
designer of record
contact
drawing title
TOM & CHERYL SHUMACHER 479 D.L. PHILLIPS LANE BROADWAY, NC 27505
drawing sheet
north arrow
logo
date drawn
S-1
9 of 53
04/14/2023
LDN
CONSTRUCT ENTRY/ SUNROOM, PORCH AND COVERED STRUCTURE OVER POOL
FOUNDATION PLAN - RENOVATION & ADDITION
FOUNDATION PLAN - RENOVATION & ADDITION
8
SCALE: 1" = 1'-0"
1
S-4
CONCRETE PAVED DRIVEWAY
MAIN ENTRY
ONE-STORY WITH
ATTIC SPACE
TWO STORY WITH THREE CAR GARAGE
4" CONCRETE STAIR LANDING
EDGE OF CONCRETE DECK
TREE
UP
THIN BRICK EDGING
6"x 6" WOOD COLUMN COVERED PORCH
LINE OF EXISTING WALL
1
S-5
4" CONCRETE SLAB ON VAPOR BARRIER ON SUB-BASE (GRAVEL OR CRUSHED STONE) ON COMPACTED FILL.
THIN BRICK EDGING
2
1" EXPANSION JOINT
LINE OF COCNRETE FOOTING
THIN BRICK EDGING
LINE OF CONCRETE FOOTING
LINE OF CONCRETE FOOTING
4" CONCRETE
RAMP
LINE OF CONCRETE FOOTING
CONCRETE
STEPS
FOUNDATION
WALL
FOUNDATION WALL
FOUNDATION
WALL
2
S-5
12'
1'-37 8"
117 8"
1'-115 8"
1'-23 4"
9'-8"
27'-1012"
12'-65 8"
20'-5"
7'-512"
38'-118"
1'-1" VERIFY
25'-47 8"
12'-814"
65 8"
7'-113 8"
7'-113 8"
1'-115 8"
1'-115 8"
ENTRY / SUNROOM
1
S-8
2
S-8
1
A-20
4
S-8
S-8
3
S-9
2
1
S-9
UP
85 8"
85 8"
4" CONCRETE SLAB ON VAPOR
BARRIER ON SUB-BASE
(GRAVEL OR CRUSHED STONE)
ON COMPACTED FILL.
16" x 16" CMU PIER, TYPICAL
4'-7"
4'-1"
FOUNDATION WALL 6'

## Slide 14
LINE on DESIGN
406 CAPTAIN HARBOUR DRIVE SANFORD, NC 28332
LEE D. NELSON
linrondesign19@gmail.com 919-498-6545
owner
project title
designer of record
contact
drawing title
TOM & CHERYL SHUMACHER 479 D.L. PHILLIPS LANE BROADWAY, NC 27505
north arrow
logo
date drawn
S-2
10 of 53
04/14/2023
LDN
CONSTRUCT ENTRY/ SUNROOM, PORCH AND COVERED STRUCTURE OVER POOL
ROOF FRAMING PLAN - RENOVATION & ADDITION
ROOF FRAMING PLAN - RENOVATION & ADDITION
SCALE: 1" = 1'-0"
1
S-3
CONCRETE PAVED DRIVEWAY
COVERED PORCH
MAIN ENTRY
ENTRY/SUNROOM
2
1 BATH
ONE-STORY WITH
ATTIC SPACE
TWO STORY WITH THREE CAR GARAGE
UP
4" CONCRETE STAIR
LANDING
EDGE OF
CONCRETE PORCH
UP
TREE
24" O.C.
1
S-5
2" x12" RAFTER SPACED @ 24" O.C.
1
S-7
24" O.C.
24" O.C
BENCH
LINE OF OVRHANG
FLAGSTONE PATH
2'-4"
8

## Slide 15
Main Entry

## Slide 16
LINE on DESIGN
406 CAPTAIN HARBOUR DRIVE SANFORD, NC 28332
LEE D. NELSON
linrondesign19@gmail.com 919-498-6545
owner
project title
designer of record
contact
drawing title
TOM & CHERYL SHUMACHER 479 D.L. PHILLIPS LANE BROADWAY, NC 27505
north arrow
logo
date drawn
A-6
04/14/2023
LDN
CONSTRUCT ENTRY/ SUNROOM, PORCH AND COVERED STRUCTURE OVER POOL
FLOOR PLANS
FLOOR PLAN - MAIN ENTRY
12'
11'-914"
COVERED PORCH
MAIN ENTRY
ENTRY / SUNROOM
UP
CONCRETE STAIRS
4
113 "
ROOF
OVERHANG -
TYPICAL
ENTRY / SUNROOM
PLATFORM PLAN
6" x 6" WOOD COLUMN
6" x 6" WOOD
COLUMN
ROOF OVERHANG
2
1"
EXPANSION
JOINT
WOOD STUD WALL
6" WOOD STUD WALL
1
2
ROOF OVERHANG
EDGE OF FOUNDATION WALL OF SUNROOM
7'-512"
2
A-26
1
A-26
2'-812"
512"
2'-812"
2'-105 8"
618"
103 4"
2'-105 8"
113 4"
1'-1112"
13'-112"
1'-1112"
512"
12'-618"
12'-113 8"
11'-17 8"
12'-814"
100
102
101
OPENING 12'-814"
6'
OPENING
6'
OPENING
6'
3'-4"
8"
4'-85 8"
3'-85 8"
OPENING 3'-4"
SD1
2"x 6" WOOD STUD WALL
512"
24 of 53
A-6
A-6
SCALE: 1" = 1'-0"
SCALE: 3" = 1'-0"
4
8

## Slide 17
LINE on DESIGN
406 CAPTAIN HARBOUR DRIVE SANFORD, NC 28332
LEE D. NELSON
linrondesign19@gmail.com 919-498-6545
owner
project title
designer of record
contact
drawing title
TOM & CHERYL SHUMACHER 479 D.L. PHILLIPS LANE BROADWAY, NC 27505
north arrow
logo
date drawn
A-11
31 of 53
04/14/2023
LDN
CONSTRUCT ENTRY/ SUNROOM, PORCH AND COVERED STRUCTURE OVER POOL
SECTION - MAIN ENTRY & EAVE DETAIL
SECTION - MAIN ENTRY
SCALE: 3 " = 1'-0"
DETAIL
SCALE: 3"= 1'-0"
512"
12'-6"
4
12'-81"
113 4"
2
51 "
MAIN
ENTRY
FACE OF STUD TO FACE OF STUD
2
A-17
1
A-11
2
A-11
LVL RIDGE BEAM, SEE NOTE 5.
2" x 12" WOOD RAFTER,
SPACED 24" O.C., SEE NOTE 4.
1" X 4" WOOD TRIM, TYPICAL
2
A-11
6" X 6" WOOD COLUMN
4" CONCRETE SLAB, SEE NOTE 3.
FINISH GRADE
FINISH GRADE
4" CONCRETE
SLAB, SEE
NOTES.
2" x 8" WOOD SIDING - YELLOW PINE
2" x 8" WOOD SIDING - YELLOW PINE
2" x 8" WOOD SIDING - YELLOW PINE
EXISTING WOOD SIDING BEYOND
2
1" SHEATHING
1" x 3" FURRING STRIPS, SPACED 16" O.C., VERTICAL
1" EXPANSION
2
JOINT
1" SHEATHING
2
1" SHEATHING
RED THIN BRICK, 8" CMU BLOCK
FOUNDATION WALL
RED THIN BRICK, 8" CMU BLOCK FOUNDATION WALL
REINFORCE CONCRETE FOOTING
REIFORCE CONCRETE FOOTING
1114"
2" x 12" WOOD RAFTER,
SPACED 24" O.C., SEE NOTE 4.
5" +/-
STEP-UP
2" X 6" WOOD STUD,
SPACED 16" O.C.
1" x 3" FURRING STRIPS, SPACED 16" O.C., VERTICAL
1" X 4" WOOD TRIM, TYPICAL
2" x 8" WOOD
3" FASCIA
4
BOARD
1" x 3" FURRING STRIPS, SPACED 16" O.C., VERTICAL
2
1" SHEATHING
1
INSTALL
2" SOFFIT BOARD & SOFFIT VENT
113 4"
1" x WOOD TRIM, TYPICAL
2" x 8" WOOD SIDING - YELLOW PINE
NOTES:
1. SOFFIT BOARD AND SOFFIT VENT:
2
2. ROOF SHEATHING: 1" CDX PLYWOOD.
3. CONCRETE SLAB ON VAPOR BARRIER ON 4" SUB-BASE (GRAVEL OR CRUSHED STONE) ON COMPACTED FILL.
4. RAFTER MUST BE #2, 2" x 12" @ 24" O.C. HANGER MUST REIST
493 lb AT THE CONNECTION.
DOUBLE TOP
PLATE
2" x 4" BLOCKING
12"
4' O.C.
4' O.C.
2" x 6" BLOCKING FOR WIND LOAD - TYPICAL ALL WALLS
1'
1
INSTALL ASPHALT SHINGLES OVER ROOF SYNTHETIC
UNDERLAYMENT OVER 2" CDX PLYWOOD SHEATHING. THE CONTRACTOR SHALL INSTALL UNDERLAYMENT WITH PLASTIC CAP NAILS.
2" x 6" BLOCKING FOR WIND LOAD - TYPICAL ALL RAFTERS
INSTALL ASPHALT SHINGLES OVER ROOF SYNTHETIC
UNDERLAYMENT OVER 1" CDX
2
PLYWOOD SHEATHING. THE
CONTRACTOR SHALL INSTALL UNDERLAYMENT WITH PLASTIC CAP NAILS.
INSTALL SOFFIT VENT, BOTH SIDES.
2
BATT INSULATION. R-20, FACED (KRAFT).
2" X 6" WOOD STUD,
SPACED 16" O.C.
METAL DRIP EDGE
2" x 12" WOOD RAFTER,
SPACED 24" O.C.
HIGH PERFORMANCE, BATT INSULATION,
R-38C, UNFACED, SEE NOTE 4.
100
NOTES:
5. LVL BEAM; ONE 2.0 E GP (GEORGIA PACIFIC) LAM LVL, USE HANGER; LSSR210Z FROM SIMPSON STRONG TIE, LL = 389 lb/ft, TL = 484 lb/ft, HANGER TO RESIST 2,236 lb AT CONNECTION.
11'-914"
COMPACTED FILL
16
8

## Slide 18
LINE on DESIGN
406 CAPTAIN HARBOUR DRIVE SANFORD, NC 28332
LEE D. NELSON
linrondesign19@gmail.com 919-498-6545
owner
project title
designer of record
contact
drawing title
TOM & CHERYL SHUMACHER 479 D.L. PHILLIPS LANE BROADWAY, NC 27505
north arrow
logo
date drawn
A-19
40 of 53
04/14/2023
LDN
CONSTRUCT ENTRY/ SUNROOM, PORCH AND COVERED STRUCTURE OVER POOL
DETAILS
SCALE: 3" = 1'-0"
DETAIL 1
A-19
SCALE: 3" = 1'-0"
DETAIL 2
A-19
1" GYPSUM
2
WALLBOARD
6" x 6" WOOD COLUMN
2" x 6" WOOD STUD
WALL, SPACED 16"
1" X 3" WOOD FURRING STRIPS, SPACED 16" O.C.
1" SHEATHING
1" X BY WOOD TRIM, TYPICAL
REINFORCE CONCRETE FOOTING
EXISTING EXTERIOR WALL
2
BATT INSULATION
2" x 8" WOOD SIDING, YELOW PINE
REMOVE SIDING AND SHEATHING, ANCHOR STUD WALL TO EXISITNG WALL.
2
1" EXPANSION JOINT
O.C
1" X BY WOOD TRIM, TYPICAL
LINE OF REINFORCE CONCRETE FOOTING
REINFORCE CONCRETE FOOTING
BATT INSULATION, FACED (KRAFT).
1" X 3" WOOD FURRING STRIPS, SPACED 16" O.C.
2" x 8" WOOD SIDING, YELOW PINE
1
714"
11 4"
512"
1
714"
11 4"
2
51 "
1" GYPSUM
1" SHEATHING
1" X BY WOOD
TRIM, TYPICAL
2
BATT INSULATION
2" x 8" WOOD SIDING,
YELOW PINE
2" x 6" WOOD STUD
WALL, SPACED 16" O.C
1" X BY WOOD TRIM, TYPICAL
REINFORCE CONCRETE FOOTING
6" x 6" WOOD POST,
3'-8" HEIGHT.
RED THIN BRICK EDGING.
1" X BY WOOD TRIM, TYPICAL
2" x 8" WOOD SIDING, YELOW PINE
1" X 3" WOOD FURRING STRIPS, SPACED 16" O.C.
312"
BATT INSULATION, FACED (KRAFT).
512"
2
WALLBOARD
1" X 3" WOOD FURRING STRIPS, SPACED 16" O.C.
2
1" SHEATHING
4
4

## Slide 19
LINE on DESIGN
406 CAPTAIN HARBOUR DRIVE SANFORD, NC 28332
LEE D. NELSON
linrondesign19@gmail.com 919-498-6545
owner
project title
designer of record
contact
drawing title
TOM & CHERYL SHUMACHER 479 D.L. PHILLIPS LANE BROADWAY, NC 27505
north arrow
logo
date drawn
C-4
5 of 53
04/14/2023
LDN
CONSTRUCT ENTRY/ SUNROOM, PORCH AND COVERED STRUCTURE OVER POOL
STAIR #2 &
STAIR #3
4
SCALE: 1" = 1'-0"
1
C-4
ELEVATION - STAIR #2
SCALE: 1" = 1'-0"
2
C-4
FINISH GRADE
POOL DECK
4'
8'-7"
4'
4'-512"
8'-7"
4'
4"
7"
11"
REINFORCE CONCRETE STAIRS.
REINFORCE CONCRETE STAIRS.
UP
5-TREADS AND 6-RISERS
PLAN - STAIR #2
4'
4" CONCRETE STAIRS LANDING.
3'-6"
GUARDRAIL
3'-0" x 6'-9" STORM DOOR.
CONCRETE POOL DECK
6"x6" WOOD COLUMN
4" SPHERE
6" SPHERE
3' HANDRAIL HEIGHT
COMPOSITE GUARDRAIL AND HANDRAIL CONSTRUCTION.
412"
3'-73 4"
PLAN - STAIR #3
SCALE: 1" = 1'-0"
3
C-4
ELEVATION - STAIR #3
SCALE: 1" = 1'-0"
4
C-4
6'
2'-11"
FINISH GRADE
3'-6"
4-TREADS AND 5-RISERS
C-5
2
C-5
1
A-27
3
C-5
NOTES:
1. INSTALL 3'-0" (WIDE) x 6'-9" (HIGH) STORM DOOR. THE DOOR MUST COMPLY WITH NC-IRC POOL REQUIREMENTS. THE (PEDESTRIAN POOL SD) DOOR MUST BE SELF CLOSING, MUST OPEN OUTWARDS FROM THE POOL, AND MUST HAVE A SELF LATCHING/LOCKING DEVICE.
2. OPENING LIMITATIONS: GUARDS ON THE OPEN SIDE OF STAIRS SHALL NOT HAVE OPENINGS THAT ALLOW PASSAGE OF SPHERE 4" IN DIAMETER. THE TRIANGULAR OPENINGS AT THE OPEN SIDE OF STAIR, FORMED BY THE RISER, TREAD, AND BOTTOM RAIL OF THE GUARD, SHALL NOT ALLOW PASSAGE OF A SPHERE 6" IN DIAMETER.
3.CONCRETE STAIRS #1, #2, AND #3: REFER TO NOTES 0N
DRAWING SHEET C-5.
C-3
4
EXISTING ACCESS DOOR TO UNDERSIDE OF POOL DECK
6"x6" WOOD COLUMN
4
1'-812"
SD1
4'-7"
COMPOSITE GUARDRAIL AND HANDRAIL
CONSTRUCTION.
CONCRETE STEPS
UP
COMPOSITE
GUARDRAIL
AND HANDRAIL
CONSTRUCTION.
11"
7"
3' HANDRAIL HEIGHT
REINFORCE CONCRETE STAIRS CONSTRUCTION.
4" SPHERE
6" SPHERE
4'-7"
2
C-4
C-4
4
LANDING
2 SIM.
CONCRETE POOL
DECK BEYOND
REINFORCE CONCRETE STAIRS CONSTRUCTION.
2" x 8" WOOD SIDING - YELLOW PINE ON 1" x 3" FURRING STRIPS
2
ON 1" SHEATHING
4
4

## Slide 20
LINE on DESIGN
406 CAPTAIN HARBOUR DRIVE SANFORD, NC 28332
LEE D. NELSON
linrondesign19@gmail.com 919-498-6545
owner
project title
designer of record
contact
drawing title
TOM & CHERYL SHUMACHER 479 D.L. PHILLIPS LANE BROADWAY, NC 27505
north arrow
logo
date drawn
C-5
04/14/2023
LDN
CONSTRUCT ENTRY/ SUNROOM, PORCH AND COVERED STRUCTURE OVER POOL
STAIR #2 & #3
NOTES:
1. CONCRETE STAIRS #1, #2, AND #3: REFER TO NOTE 2.
2. NOTES:
A. CONCRETE STEM WALLS:
- Fc = 4 ksi.
GRADE 60 REBAR.
#4 REBAR @ 8" O.C. IN CONCRETE STEM WALLS.
REBARS 3" CONCRETE COVER.
- REBARS EMBED MIN. 8-1" IN STRIP FOOTING WITH A
2
STANDARD 90-DEGREE HOOK @ 6", STEM WALL 8" THICK.
STEM WALLS AND STRIP FOOTERS ON ALL PERIMETER SIDES, EXCEPT TREAD SIDE.
STRUCTURAL BACKFILL SHALL MEET 2,000 psf, HAND
TAMP ONLY WHEN STEMS HAVE BEEN PLACED IN 6" LIFTS.
EACH COLD JOINT SHALL HAVE A REBAR SPLICE LENGTH OF 40 TIMES THE DIAMETER ABOVE.
PROVIDE A CONTINUOUS REINFORCEMENT THROUGH THE JOINTS.
B. CONCRETE TREADS:
- Fc = 4 ksi.
2
GRADE 60 REBAR.
#4 REBAR @ 7" O.C. IN CONCRETE STEM WALLS, 1" CLEAR
DISTANCE BETWEEN RISERS.
- WWF 1.4 6 X 6PLACED 1-1" FROM TOP FACE OF TREAD.
2
- #4 REBAR @ TREAD NOSING PLACED BELOW WWF.
SECTION - STAIR #2
4
SCALE: 1" = 1'-0"
1
C-5
2
SECTION - STAIR #3
3
FINISH GRADE
FINISH
GRADE
FINISH
GRADE
1'-4" 1'-4"
1'
1'
8"
1'
1'-4"
WWF
WWF
WWF
1'
1'-4"
1'-6"
4'
8"
4"
7"
6"
4'
11"
7"
7"
1'-83 4"
3'-93 8"
VERIFY
4"
4" CONCRETE LANDING, REFER TO NOTE 2.
1" EXPANSION
1'
TOP OF POOL DECK BEYOND
#4 REBAR @ 8" O.C.
#4 REBAR @ TREAD NOSING.
1'-7"
THIN RED BRICK AND 8"
CMU BLOCK FOUNDATION WALL
TOP OF CONCRETE SLAB BEYOND
4'-7" 4'-1"
SECTION - STAIR #3
6"
4"
6"
4" CONCRETE LANDING, REFER TO 2/C-2.
1" EXPANSION
2
JOINT
1'
1'-103 8"
VERIFY
1'-103 8"
VERIFY
6'
3'-93 8"
VERIFY
1'-012"
8"
8"
1" EXPANSION
#4 REBAR
2
JOINT
#4 REBAR
#4 REBAR
#4 REBAR
#4 REBAR
TOP OF CONCRETE SLAB
@ TREAD NOSING.
1'-4"
8"
#4 @ 8"
O.C.
2
JOINT
#4 @ 8" O.C.
COMPACTED FILL 2,000 PSF,
SEE NOTE 2.
COMPACTED FILL 2,000 PSF,
SEE NOTE 2.
TOP OF POOL DECK BEYOND
11" TYPICAL
TYPICAL
11" TYPICAL
TYPICAL
COMPACTED FILL 2,000 PSF,
SEE NOTE 2.
#4 REBAR
COMPACTED FILL 2,000 PSF,
SEE NOTE 2.
TOP OF CONCRETE SLAB BEYOND
COLD
JOINT
COLD JOINT
COMPACTED FILL 2,000 PSF,
SEE NOTE 2.
6 of 53
C-5
C-5
SCALE: 1" = 1'-0"
SCALE: 1" = 1'-0"
4
4

## Slide 21
Main Entry & Porch

## Slide 22
LINE on DESIGN
406 CAPTAIN HARBOUR DRIVE SANFORD, NC 28332
LEE D. NELSON
linrondesign19@gmail.com 919-498-6545
owner
project title
designer of record
contact
drawing title
TOM & CHERYL SHUMACHER 479 D.L. PHILLIPS LANE BROADWAY, NC 27505
north arrow
logo
date drawn
A-4
22 of 53
04/14/2023
LDN
CONSTRUCT ENTRY/ SUNROOM, PORCH AND COVERED STRUCTURE OVER POOL
FLOOR PLAN - MAIN ENTRY & COVERED PORCH
FLOOR PLAN - MAIN ENTRY & COVERED PORCH
SCALE: 3 " = 1'- 0"
81
2"
12'
11'-03 8"
ROOF OVERHANG
COVERED PORCH
MAIN ENTRY
1
A-6
UP
113 4"
OVERHANG
OVERHANG
4" CONCRETE STAIR LANDING
LINE OF EXISTING BRICK WALL FOUNDATION
ONE-STORY WITH ATTIC SPACE
ROOF OVERHANG
ROOF OVERHANG
LINE OF
FOUNDATION BELOW
EDGE OF CONCRETE DECK
6" x 6" WOOD COLUMN
TYPICAL
LINE OF CONCRETE DRIVEWAY
NOTES:
1. FOR CLARIFICATION, THIN BRICK EDGING LOCATED @ MAIN ENTRY & COVERED PORCH IS
NOT SHOWN, REFER TO STRUCTURAL DRAWINGS.
2. STRUCTURAL HEADER SHALL BE #2, SOUTHERN PINE (SP). NAILING PATTERN PER NDS FOR BUILT UP BEAM.
3. INSTALL SAME STRUCTURAL HEADER #2 SP, 3-2" x 8" @ DOOR
101.
73 8"
113 4"
103 4"
818"
512"
103 4"
25 8"
12'-618"
113 4"
ROOF
8'-15 8"
8'-15 8"
8'-15 8"
512"
2'-212"
2'-43 8"
6'
3'-2"
3'-418"
ROOF OVERHANG
26'-57 8"
12'-814"
39'-218"
618"
ENTRY / SUNROOM
9'-8"
7'-312"
7'
S-5
1
5'
1'-4"
100
102
3'-4"
6'
3-2"x 8" HEADER
3-2"x 8" HEADER
OPENING
3-2"x 8" HEADER
3-2"x 8" HEADER
OPENING
ROOF
6'
OPENING
6'
OPENING
LEGEND:
HEADER
16

## Slide 23
LINE on DESIGN
406 CAPTAIN HARBOUR DRIVE SANFORD, NC 28332
LEE D. NELSON
linrondesign19@gmail.com 919-498-6545
owner
project title
designer of record
contact
drawing title
TOM & CHERYL SHUMACHER 479 D.L. PHILLIPS LANE BROADWAY, NC 27505
north arrow
logo
date drawn
A-10
30 of 53
04/14/2023
LDN
CONSTRUCT ENTRY/ SUNROOM, PORCH AND COVERED STRUCTURE OVER POOL
BUILDING SECTION - MAIN ENTRY & COVERED PORCH
BUILDING SECTION - MAIN ENTRY & COVERED PORCH
SCALE: 1" = 1'-0"
8
38'-05"
1'
1'
ROOF
METAL ROOF OVER ROOF SYNTHETIC
UNDERLAYMENT OVER 1" CDX
2
PLYWOOD SHEATHING. THE
CONTRACTOR SHALL INSTALL UNDERLAYMENT WITH PLASTIC CAP NAILS.
4" CONCRETE SLAB ON VAPOR BARRIER ON 4"
SUB-BASE (GRAVEL OR
CRUSHED STONE) ON COMPACTED FILL.
6"X 6" WOOD COLUMN -
2
2
METAL ROOF@ 11"/12"
REMOVE
FOUNDATION VENT
REMOVE ACCESS DOOR
ROOF SLOPE
2" x 12" WOOD JOIST, SPACED
@ 24" O.C.
24" O.C.
5" +/-
NOTES:
1. INSTALL NEW WINDOW TO INCLUDE WOOD SIDING, WOOD FRAMING, ASSOCIATED MATERIALS FOR NEW WINDOW WORK. THE CONTRACTOR SHALL VERIFY LENGTH AND HEIGHT DIMENSIONS FROM ADJACENT EXISTING DORMER WINDOWS. CENTER WINDOW OPENING ON WALL. ALIGN WINDOW SILLS IN HEIGHT.
2. REMOVE FOUNDATION VENTS, ACCESS DOOR OPENING AND ASSOCIATED HARDWARE. BLOCK-UP OPENINGS WITH MASONRY.
3. LVL BEAM; ONE 2.0 E GP (GEORGIA PACIFIC) LAM LVL, USE HANGER; LSSR210Z FROM SIMPSON STRONG TIE, LL = 389 lb/ft, TL = 484 lb/ft, HANGER TO RESIST 2,236 lb AT CONNECTION.
EXISTING ASPHALT SHINGLE ROOF
4NEW OPERABLE WINDOW,
SEE NOTE 1.
4' O.C.
4' O.C.
OVERHANG
2" x 6" BLOCKING
FOR WIND LOAD - TYPICAL
LVL RIDGE
BEAM, SEE
NOTE 3.
2" x 12" BLOCKING
FOR WIND LOAD -
TYPICAL
3'-6"
4
12'-8-1"
25'-43 8"
W-1
4" CONCRETE SLAB ON VAPOR
BARRIER ON 4" SUB-BASE
(GRAVEL OR CRUSHED STONE) ON COMPACTED FILL.
100
5
1'-4 8"
RED THIN BRICK
COMPACTED FILL
COMPACTED FILL
REINFORCED CONCRETE STRIP FOOTING.
TYPICAL
4" CONCRETE RAMP
RED THIN BRICK EDGING
8

## Slide 24
LINE on DESIGN
406 CAPTAIN HARBOUR DRIVE SANFORD, NC 28332
LEE D. NELSON
linrondesign19@gmail.com 919-498-6545
owner
project title
designer of record
contact
drawing title
TOM & CHERYL SHUMACHER 479 D.L. PHILLIPS LANE BROADWAY, NC 27505
north arrow
logo
date drawn
S-3
11 of 53
04/14/2023
LDN
CONSTRUCT ENTRY/ SUNROOM, PORCH AND COVERED STRUCTURE OVER POOL
ROOF FRAMING PLAN - MAIN ENTRY & COVERED PORCH
ROOF FRAMING PLAN - MAIN ENTRY & COVERED PORCH
SCALE: 3 " = 1'-0"
COVERED PORCH
MAIN ENTRY
ONE-STORY WITH
ATTIC SPACE
4" CONCRETE STAIR LANDING
UP
LINE OF EXISTING WALL
6" x 6" WOOD COLUMN
ENTRY / SUNROOM
LINE OF CONCRETE DRIVEWAY.
24" O.C.
8'-15 8"
25'-47 8"
6'
24" O.C.
8'-15 8"
12'-312"
2" x 12" RAFTER @
24" O.C.
2" x 12" RAFTER @
24" O.C.
8'-15 8"
2" X 6" BARGE RAFTER,
VERIFY AND MATCH
WITH RAFTER. 12'-814"
2" x 12" COMMON RAFTER
2" x 12" END RAFTER
2" x 12" BLOCKING FOR WIND LOAD,
SEE NOTE 2.
1
S-5
24" O.C.
6'
1
S-3
6'
6'
3'-4"
LVL BEAM, SEE NOTE 1
NOTES:
1. PROVIDE ONE 2.0 GP (GEORGIA PACIFIC) LAM LVL 1-3/4" x 18" WITH HANGER LSSR210Z FROM SIMPSON STRONG TIE. LL = 389 lb/ft., TL = 484 lb/ft, HANGER TO RESIST 2,236 lb AT CONNECTION.
2. PROVIDE #2, 2" x 12" @ 24" O.C., WITH BLOCKING AT MIDPOINT. HANGER MUST RESIST 493 lb AT THE CONNECTION.
3.GP LVL 1.5E (2) 1 3/4” X 7.25”, SG = .43- 50, MIN Fb = 2431 psi, FV =
285 psi.
DOUBLE LVL PER MANUFACTURE REQUIREMENTS. 6X6 AXIAL LOAD, T = 1300LB (UPLIFT), C = 1562LB.
POST CAP, TWO (2) LPC6Z SIMPSON STRONG TIE POST CAP PER COLUMN, MINIMUM 920LB EA CONNECTOR. REQUIRED FOR UPLIFT.
6" x 6" WOOD COLUMN
WOOD BEAM, SEE NOTE 3.
WOOD BEAM, SEE
NOTE 3.
12'
11'-03 8"
16

## Slide 25
Main Entry and Sunroom

## Slide 26
LINE on DESIGN
406 CAPTAIN HARBOUR DRIVE SANFORD, NC 28332
LEE D. NELSON
linrondesign19@gmail.com 919-498-6545
owner
project title
designer of record
contact
drawing title
TOM & CHERYL SHUMACHER 479 D.L. PHILLIPS LANE BROADWAY, NC 27505
north arrow
logo
date drawn
S-4
12 of 53
04/14/2023
LDN
CONSTRUCT ENTRY/ SUNROOM, PORCH AND COVERED STRUCTURE OVER POOL
FLOOR FRAMING PLAN - ENTRY / SUNROOM
SCALE: 3 " = 1'-0"
ENTRY
ONE-STORY WITH
ATTIC SPACE
4" CONCRETE SLAB ON VAPOR BARRIER ON SUB-BASE (GRAVEL OR CRUSHED
STONE) ON COMPACTED FILL.
LINE OF EXISTING WALL
TREE
UP
LINE OF EXISITNG EXTERIOR WALL
6" x 6" WOOD COLUMN
LINE OF CONCRETE FOOTING
POOL DECK
2" x 12" WOOD JOIST @ 16" O.C. - TYPICAL
LINE OF EXISTING
WALL
ENTRY / SUNROOM
THIN BRICK AND 8" CMU BLOCK FOUNDATION WALL, FULLY GROUTED.
CMU BLOCK PIER, FULLY GROUTED ON CONCRETE FOOTING, TYPICAL.
2" X 12" WOOD JOIST @ 16" O.C.
4" CONCRETE SLAB ON VAPOR BARRIER ON SUB-BASE (GRAVEL OR CRUSHED STONE)
ON COMPACTED FILL.
MAIN
1" EXPANSION
2
JOINT
LINE OF POOL DECK EDGE.
LINE OF CONCRETE FOOTING
LINE OF CONCRETE
FOOTING
FLOOR FRAMING PLAN - ENTRY / SUNROOM 1
S-4
1
A-20
7'-512"
7'-113 8"
7'-113 8"
16" O.C.
20'-4"
1"
2'-13 4"
1'-97 8" SPAN
612"
SPAN
63 4"
20'-5"
9'-8"
2'-312"
2'-05 8" SPAN
85 8"
1
S-4.1
16

## Slide 27
LINE on DESIGN
406 CAPTAIN HARBOUR DRIVE SANFORD, NC 28332
LEE D. NELSON
linrondesign19@gmail.com 919-498-6545
owner
project title
designer of record
contact
drawing title
TOM & CHERYL SHUMACHER 479 D.L. PHILLIPS LANE BROADWAY, NC 27505
north arrow
logo
date drawn
S-4.1
13 of 53
04/14/2023
LDN
CONSTRUCT ENTRY/ SUNROOM, PORCH AND COVERED STRUCTURE OVER POOL
SECTION; ENTRY- SUNROOM
SECTION - ENTRY / SUNROOM
4
SCALE: 1" = 1'-0"
1
S4.1
REINFORCE CONCRETE FOOTING
2 - 2" x 12" WOOD JOIST @ 16" O.C., SEE NOTE 3 - TYPICAL
16" x 16" CMU BLOCK PIER, FULLY GROUTED
FINISH
GRADE
REINFORCE CONCRETE FOOTING
CRAWL SPACE
R-20 BATT INSULATION, FACED (KRAFT).
4" CONCRETE SLAB ON VAPOR BARRIER ON 4" SUB-BASE (GRAVEL OR CRUSHED STONE) ON COMPACTED FILL.
VAPOR BARRIER, 6 MILS
RED THIN BRICK TO MATCH EXISTING BRICK. THE RED BRICK SHALL MATCH COURSING OF EXISTING BRICK FOUNDATION WALL.
2" x 8" SOUTHERN YELLOW PINE
“D” LOG SIDING ON 3" WOOD
4
FURRING STRIPS ON TYVEK
HOUSE WRAP ON 1" SHEATHING
2
ON 2" x 6" WOOD STUDS SPACED,
16" O.C.
2
1" x 10" ANCHOR BOLT.
2" x WOOD PLATE, TYPICAL.
7'-113 8"
7'-113 8"
1'-115 8"
1'-115 8"
1'-115 8"
1'-75 8"
THIN BRICK AND 8" CMU BLOCK FOUNDATION WALL, FULLY GROUTED.
FINISH GRADE
R-20 BATT INSULATION, FACED (KRAFT).
R-19 BATT INSULATION, FACED (KRAFT).
312"
RED THIN BRICK TO MATCH EXISTING BRICK. THE RED BRICK SHALL MATCH COURSING OF EXISTING BRICK FOUNDATION WALL.
CRAWL SPACE
1'
1'
4"
1"
512"
2" x 12" WOOD JOIST @ 16" O.C. - TYPICAL
7'-95 8"
7'-95 8"
13 4"
1'-4"
5
2'-0 8"
1'-97 8"
SPAN
SPAN
SPAN
SPAN
NOTES:
1. VAPOR BARRIER, CLASS 1 - 0.1 PERM OR LESS SHEET POLYETHYLENE 6 MIL (0.06 PERMS).
4 8
2. LVL BEAM: 1.5 E 1 3" x 16" @ 7'-11 3" O.C. MAX.
SPEC OF LVL; E = 1.5 x 10^6 psi, Fv = 285 psi, V = (SHEAR) =
1,500 (SIMPSON STRONG TIE LVL HANGER NEEDS TO BE SPECIFIED TO RESIST LOAD TABLES AVAILABLE ON THEIR WEB-SITE).
3. JOIST: SP #1, 2" x 12" @ 16" O.C.
SPEC OF JOIST; V (SHEAR) = 1,200 lb (SIMPSON STRONG TIE DIMENSIONAL LUMBER HANGER NEEDS TO BE SPECIFIED TO RESIST, LOAD TABLES AVAILABLE ON THEIR WEB-SITE).
4. THE STRUCTURAL MEMBERS ABOVE HAVE VERY LIGHT DEFLECTION RESTRICTIONS DUE TO CERAMIC TILE
FLOORING TO PREVENT CRACKING. PROVIDE 1 1"
2
SHEATHING TO STIFFEN THE FLOOR TO ACCEPT CERAMIC
TILE FLOORING.
LVL BEAM, SEE NOTE 2.
112"
1
1 2" SHEATHING SUB-FLOOR, SEE NOTE 4.
BLOCK CELLS WITH REBAR ON REINFORCE CONCRETE FOOTING, TYPICAL.
REINFORCE CONCRETE FOOTING
1'-45 8"
2" x 8" SOUTHERN YELLOW PINE “D”
LOG SIDING ON 3" WOOD FURRING
4
STRIPS ON TYVEK HOUSE WRAP ON
1" SHEATHING ON 2" x 4" WOOD
2
STUDS SPACED, 16" O.C.

## Slide 28
LINE on DESIGN
406 CAPTAIN HARBOUR DRIVE SANFORD, NC 28332
LEE D. NELSON
linrondesign19@gmail.com 919-498-6545
owner
project title
designer of record
contact
drawing title
TOM & CHERYL SHUMACHER 479 D.L. PHILLIPS LANE BROADWAY, NC 27505
north arrow
logo
date drawn
A-13
34 of 53
04/14/2023
LDN
CONSTRUCT ENTRY/ SUNROOM, PORCH AND COVERED STRUCTURE OVER POOL
SECTION - ENTRY/SUNROOM
SECTION - ENTRY / SUNROOM
16
SCALE: 3 " = 1'-0"
7'-85 8"
8'-1018"
6'-87 8"
NEW CONSTRUCTION
FINISH GRADE
GRADE
CRAWL SPACE
EXISTING FOUNDATION
EXISTING FLOOR STRUCTURE
EXISTING
TRUSS SYSTEM
1
2
1- "
12"
ROOF SLOPE
2" x 12" WOOD JOIST,
SPACED 16" O.C., REFER TO NOTE 2.
RED THIN BRICK TO MATCH EXISTING BRICK
RED THIN BRICK/
8" CMU FOUNDATION
WALL.
2" x 12" WOOD RAFTERS, SPACED 24" O.C. WITH HIGH PERFORMANCE BATT INSULATION - R-38C.
EXISTING ASPHALT SHINGLES
STANDING SEAM METAL ROOF,
24-GAUGE, MECHANICALLY SEAMED, DOUBLE LOCKED ROOF SYSTEM.
NEW FLOOR ELEVATION AND EXISTING FLOOR MUST MATCH IN
ELEVATION
HEIGHT (FLUSH).
1" X 4" WOOD TRIM TO MATCH EXISTING, TYPICAL
1
A-23
2
A-23
ONE STORY WITH ATTIC SPACE
EXISTING STEEL STRUCTURE BRACE
EXISTING STEEL STRUCTURE
MAIN ENTRY ELEVATION BEYOND
16" x 16" CMU PIER FOUNDATION, FULLY GROUTED CELLS WITH REBAR ON REINFORCE CONCRETE FOOTING.
INSTALL ASPHALT SHINGLES OVER ROOF SYNTHETIC UNDERLAYMENT
OVER 1" CDX PLYWOOD SHEATHING.
2
THE CONTRACTOR SHALL INSTALL
UNDERLAYMENT WITH PLASTIC CAP NAILS. ASPHALT SHINGLES MUST MATCH EXISTING SHINGLES.
R-20 BATT INSULATION,
FACED (KRAFT).
VAPOR BARRIER, 6
MILS
NOTES:
1. VAPOR BARRIER, CLASS 1 - 0.1 PERM OR LESS SHEET POLYETHYLENE 6 MIL (0.06 PERMS).
4 8
2. LVL BEAM: 1.5 E 1 3"" x 16" @ 7'-11 3"" O.C.
MAX.
SPEC OF LVL; 1.5 E x 106 PSI, Fv = 285 PSI, V = (SHEAR) = 1,500 (SIMPSON STRONG TIE
LVL HANGER NEEDS TO BE SPECIFIED TO RESIST LOAD TABLES AVAILABLE ON THEIR WEB-SITE).
3. JOIST: SP #1, 2" x 12" @ 16" O.C. SPEC OF JOIST; V (SHEAR) = 1,200 LB (SIMPSON STRONG TIE DIMENSIONAL LUMBER HANGER NEEDS TO BE SPECIFIED TO RESIST, LOAD TABLES AVAILABLE ON THEIR WEB-SITE).
4. THE STRUCTURAL MEMBERS ABOVE HAVE VERY LIGHT DEFLECTION RESTRICTIONS DUE TO CERAMIC TILE FLOORING TO PREVENT CRACKING.
PROVIDE 1 1" SHEATHING TO STIFFEN THE
2
FLOOR TO ACCEPT THE CERAMIC TILE.
5. RED THIN BRICK MUST MATCH EXISTING BRICK IN TEXTURE, FACE SIZE, MORTAR TYPE AND COLOR.
ALUMINUM SINGLE-HUNG INSULATED WINDOW
1'-43 8"
1
A-13
2" x 8" SOUTHERN YELLOW PINE “D” LOG SIDING ON 1"x 3" FURRING STRIPS SPACED, 16" O.C., ON TYVEK HOUSE WRAP
2
ON 1" SHEATHING.
1" GYPSUM
2
A-24
2" x 8" SOUTHERN YELLOW PINE “D” LOG SIDING ON 1"x 3" FURRING STRIPS SPACED, 16" O.C., ON TYVEK HOUSE WRAP
2
ON 1" SHEATHING.
113 4"
INSTALL STEP FLASHING ALONG WALL AND ROOF INTERSECTION
RIDGE VENT
EXISTING CONSTRUCTION
2
WALLBOARD.
EXISTING EXTERIOR WALL TO REMAIN
R-19 BATT INSULATION, UNFACED). ANCHOR BOLT,
2
1" x 8"
1'
1'-115 8"
1'
LVL, SEE NOTE 2
CRAWL SPACE
100
1'-45 8"

## Slide 29
LINE on DESIGN
406 CAPTAIN HARBOUR DRIVE SANFORD, NC 28332
LEE D. NELSON
linrondesign19@gmail.com 919-498-6545
owner
project title
designer of record
contact
drawing title
TOM & CHERYL SHUMACHER 479 D.L. PHILLIPS LANE BROADWAY, NC 27505
north arrow
logo
date drawn
A-20
41 of 53
04/14/2023
LDN
CONSTRUCT ENTRY/ SUNROOM, PORCH AND COVERED STRUCTURE OVER POOL
SECTION DETAIL
SECTION DETAIL
4
SCALE: 3" = 1'-0"
1
A-20
4"
512"
1"
5-1/2" +/-
REINFORCE CONCRETE FOOTING
2" x 12" WOOD JOIST @ 16" O.C. - TYPICAL
RED THIN BRICK AND 8" CMU BLOCK FOUNDATION WALL, FULLY GROUTED.
16" x 16" CMU BLOCK PIER, FULLY GROUTED BLOCK CELLS WITH REBAR ON REINFORCE CONCRETE FOOTING, TYPICAL.
4" CONCRETE SLAB ON
VAPOR BARRIER ON 4" SUB-BASE (GRAVEL OR CRUSHED STONE) ON COMPACTED FILL.
FINISH GRADE
REINFORCE CONCRETE FOOTING
CRAWL SPACE
R-19 BATT INSULATION, FACED (KRAFT).
VAPOR BARRIER, 6 MILS
RED THIN BRICK TO MATCH EXISTING BRICK. THE RED THIN BRICK SHALL MATCH COURSING OF EXISTING BRICK FOUNDATION WALL.
2" x 8" SOUTHERN YELLOW PINE “D”
LOG SIDING ON 3" WOOD FURRING
4
STRIPS SPACED, 16" O.C. ON TYVEK
2
HOUSE WRAP ON 1" SHEATHING.
NOTE: VAPOR BARRIER, CLASS 1 -
0.1 PERM OR LESS SHEET POLYETHYLENE 6 MIL (0.06 PERMS).
R-20 BATT INSULATION, FACED (KRAFT).
INSTALL PVC VENT STRIPS
2
1" x 10" ANCHOR BOLT.
2" x WOOD PLATE.
1'
3"
1'-97 8"
13 4"
2
1 1" SUBFLOOR
LVL BEAM, 1-3/4" x 16"
85 8"
8
1'-45 "
1'
1'-115 8"
1" x 16" ANCHOR
2
BOLT.
COMPACTED FILL.
4"
4"
4"
4"
8
1'-35 "

## Slide 30
Sunroom

## Slide 31
LINE on DESIGN
406 CAPTAIN HARBOUR DRIVE SANFORD, NC 28332
LEE D. NELSON
linrondesign19@gmail.com 919-498-6545
owner
project title
designer of record
contact
drawing title
TOM & CHERYL SHUMACHER 479 D.L. PHILLIPS LANE BROADWAY, NC 27505
north arrow
logo
date drawn
A-5
04/14/2023
LDN
CONSTRUCT ENTRY/ SUNROOM, PORCH AND COVERED STRUCTURE OVER POOL
FLOOR
PLAN - ENTRY / SUNROOM
FLOOR PLAN - ENTRY / SUNROOM
MAIN ENTRY
COVERED PORCH
ONE-STORY WITH ATTIC SPACE
ENTRY / SUNROOM
EXISTING WINDOW OPENING
2
1 BATH
6" X 6" WOOD COLUMN - TYPICAL
EXISTING WINDOW, REFER TO NOTE 2.
A-6
2
TREE
POOL DECK
71 "
LINE OF ROOF OVERHANG ABOVE
2 ROOF OVERHANG
1
A-19
LINE OF ROOF OVERHANG ABOVE
2
A-19
8'-15 8"
EXISTING EXTERIOR WALL SHALL REMAIN
NOTES:
1. THE CONTRACTOR MUST VERIFY EXISTING WINDOW HEADER HEIGHT OF REMOVED WINDOWS. MODIFY AND CONSTRUCT A CASED OPENING TO INCLUDE A STRUCTURAL HEADER, MAINTAIN A FINISHED 3'-4" x 6'-8" OPENING.
2.THE CONTRACTOR MUST REMOVE WINDOW, WINDOW FRAME, AND ASSOCIATED MATERIALS AND FINISHES (EXTERIOR AND INTERIOR), REFER TO DEMOLITION DRAWINGS. INSTALL NEW WOOD SIDING (STAGGERED), WOOD FRAMING, SHEATHING, GYPSUM WALLBOARD, MATERIALS AND FINISHES (EXTERIOR AND INTERIOR).
WOOD SIDING NOT REQUIRED IN
2
1 BATH.
3. HANDRAILS AND GUARDRAILS NOT SHOWN FOR CLARITY.
BENCH
3'-4"
1'-312"
UP
5'
5'
1'-4"
1'-4"
5'
1'-4"
7'-612"
7'-312"
LINE OF ROOF OVERHANG
ABOVE
20'-012"
9'-8"
5'-812"
3'-4"
1'
1'
1
100
102
101
CASED OPENING, REFER TO NOTE 1.
W-3
W-3
W-3
SD1
2'-9"
6'-312"
8"
8
9'-17 "
LINE OF EXISTING WOOD SIDING
1'-4"
20'-4"
23 of 53
A-5
SCALE: 3 " = 1'- 0"
16

## Slide 32
LINE on DESIGN
406 CAPTAIN HARBOUR DRIVE SANFORD, NC 28332
LEE D. NELSON
linrondesign19@gmail.com 919-498-6545
owner
project title
designer of record
contact
drawing title
TOM & CHERYL SHUMACHER 479 D.L. PHILLIPS LANE BROADWAY, NC 27505
drawing sheet
north arrow
logo
date drawn
A-17
38 of 53
04/14/2023
LDN
CONSTRUCT ENTRY/ SUNROOM, PORCH AND COVERED STRUCTURE OVER POOL
ELEVATION & DETAIL
ELEVATION / SUNROOM
3
SCALE: 16" = 1'-0"
NEW CONSTRUCTION
EXISTING CONSTRUCTION
FINISH GRADE
CRAWL SPACE
2
1-1"
ROOF SLOPE 12"
EXISTING TRUSS
EXISTING FLOOR STRUCTURE
ONE STORY WITH ATTIC SPACE
EXISTING ASPHALT SHINGLE ROOF
ASPHALT SHINGLES TO MATCH EXISTING SHINGLES
STANDING SEAM METAL ROOF, 24 - GAUGE.
RED THIN BRICK TO MATCH EXISTING
EXISITNG FOUNDATION WALL
RED THIN BRICK SHALL COURSE OUT EXACTLY
WITH THE EXISTING RED
BRICK FOUNDATION WALL.
3'-0" x 7'-0" x
4
1-3" DOOR
1
A-17
1
A-26
2" x 8" SOUTHERN YELLOW PINE "D" LOG WOOD SIDING
1" x TRIM, MATCH
EXISTING.
1" x TRIM, MATCH EXISITNG, TYPICAL.
DETAIL
SCALE: 1" = 1'-0"
2
A-17
2" x 8" SOUTHERN YELLOW PINE "D" LOG WOOD SIDING
1" x TRIM, MATCH EXISITNG, TYPICAL.
BEAD BOARD CEILING
BATT INSULATION, R-38C, UNFACED
LVL RIDGE BEAM, SEE NOTE 1.
INSTALL ASPHALT SHINGLES OVER ROOF
SYNTHETIC UNDERLAYMENT OVER 1" CDX
2
PLYWOOD SHEATHING. THE CONTRACTOR
SHALL INSTALL UNDERLAYMENT WITH PLASTIC CAP NAILS.
13 4"
2" x 12" WOOD RAFTER, SPACED 24" O.C., SEE
NOTE 2
RIDGE VENT
INSTALL STEP FLASHING ALONG WHERE WALL AND ROOF INTERSECTION.
RIDGE VENT
MAIN ENTRY ELEVATION BEYOND
2" x 8" SOUTHERN YELLOW PINE "D" LOG WOOD SIDING ON 1"x 3"
FURRING STRIPS SPACED 16"
O.C. ON TYVEK HOUSE WRAP
2
EXISTING EXTERIOR WALL
ON 1" SHEATHING.
1'-6"
NOTES:
1. PROVIDE ONE 2.0 GP (GEORGIA PACIFIC) LAM LVL 1-3/4" x 18" WITH HANGER LSSR210Z FROM SIMPSON STRONG TIE. LL = 389 lb/ft., TL = 484 lb/ft, HANGER TO RESIST 2,236 lb AT CONNECTION.
2. PROVIDE GRADE #2, 2" x 12" @ 24" O.C., WITH BLOCKING AT MIDPOINT. HANGER MUST RESIST 493 lb AT THE CONNECTION.
3'-6"
2'-8"
METAL ACCESS
DOOR, LOCKABLE WITH BUILT-IN LINTEL.
42" GUARDRAIL.
101
2'- 0"

## Slide 33
LINE on DESIGN
406 CAPTAIN HARBOUR DRIVE SANFORD, NC 28332
LEE D. NELSON
linrondesign19@gmail.com 919-498-6545
owner
project title
designer of record
contact
drawing title
TOM & CHERYL SHUMACHER 479 D.L. PHILLIPS LANE BROADWAY, NC 27505
north arrow
logo
date drawn
A-23
45 of 53
04/14/2023
LDN
CONSTRUCT ENTRY/ SUNROOM, PORCH AND COVERED STRUCTURE OVER POOL
ROOF DETAILS
DETAIL 2
SCALE: 1" = 1'-0" A-23
DETAIL 1
SCALE: 1" = 1'-0" A-23
312"
103 4"
512"
712"
EXISTING WALL THICKNESS
EXISTING FLOOR STRUCTURE
EXISTING TRUSS SYSTEM
2" x 8" SOUTHERN YELLOW PINE “D” LOG SIDING ON 1"x 4" FURRING STRIPS SPACED, 16" O.C. ON TYVEK HOUSE WRAP
2
ON 1" SHEATHING.
R-20 BATT INSULATION, BEYOND
STANDING SEAM METAL ROOF,
24-GAUGE, MECHANICALLY SEAMED, DOUBLE LOCKED ROOF SYSTEM.
STANDING SEAM METAL ROOF,
24-GAUGE, MECHANICALLY SEAMED, DOUBLE LOCKED ROOF SYSTEM.
1" X 4" WOOD TRIM TO MATCH EXISTING, TYPICAL
1" X 4" WOOD TRIM TO MATCH EXISTING, TYPICAL
2
1-1"
ROOF SLOPE 12"
ONE STORY WITH ATTIC SPACE
2" x 12" WOOD RAFTERS, SPACED 24" O.C. WITH HIGH PERFORMANCE BATT INSULATION - R-38C.
914"
512"
INSTALL SOFFIT
VENT, MATCH EXISTING
12"
714"
2"x 4" DOUBLE TOP PLATE
1" X 4" WOOD TRIM TO MATCH EXISTING, TYPICAL
INSTALL BEADBOARD
INSTALL BEADBOARD
2
1" GYPSUM WALLBOARD
EXISTING 2" x 8" SOUTHERN YELLOW PINE “D” LOG SIDING. THE CONTRACTOR SHALL PROTECT SIDING FROM DAMAGE.
1
1-2"
ROOF SLOPE 12"
1114"
53 8
"
EXISTING ASPHALT SHINGLE ROOF SYSTEM TO REMAIN.
INSTALL 2"x 4" WOOD BLOCKING SUPPORT 2"x 12" WOOD LEDGER BOARD.
114
"
VENT HOLE
2"x 4" WOOD BLOCKING
4"
1'
METAL FLASING
METAL FLASING
A-24
1
2" x 12" WOOD RAFTERS, SPACED 24" O.C. WITH HIGH PERFORMANCE BATT INSULATION - R-38C.
DRILL 1" HOLE IN WOOD
2
BLOCKING, CENTERED OVER
3" SPACE. HOLES SHALL BE
4
CENTERED BETWEEN
FURRING STRIPS FOR VENTILATION.
METAL DRIP EDGE, ENCLOSURE EDGE AND FLASHING.

## Slide 34
LINE on DESIGN
406 CAPTAIN HARBOUR DRIVE SANFORD, NC 28332
LEE D. NELSON
linrondesign19@gmail.com 919-498-6545
owner
project title
designer of record
contact
drawing title
TOM & CHERYL SHUMACHER 479 D.L. PHILLIPS LANE BROADWAY, NC 27505
north arrow
logo
date drawn
A-24
46 of 53
04/14/2023
LDN
CONSTRUCT ENTRY/ SUNROOM, PORCH AND COVERED STRUCTURE OVER POOL
DETAILS
DETAIL 1
SCALE: 3" = 1'-0" A-24
DETAIL 2
SCALE: 1" = 1'-0" A-24
5
3 8
"
118
"
4"
312
"
114
"
EXISTING TRUSS SYSTEM
STANDING SEAM METAL ROOF,
24-GAUGE, MECHANICALLY SEAMED, DOUBLE LOCKED ROOF SYSTEM.
2" x 12" WOOD RAFTERS, SPACED 24" O.C. WITH HIGH PERFORMANCE BATT INSULATION - R-38C.
INSTALL 2"x 4" WOOD BLOCKING SUPPORT 2"x 12" WOOD LEDGER
BOARD.
VENT HOLE
METAL FLASING
2"x 4" WOOD BLOCKING
FOR VENT HOLES, SEE NOTE.
EXISTING ASPHALT
SHINGLES
EXISTING EXTERIOR WALL TO REMAIN.
NOTE: REFER TO DRAWING
SHEET S-7 FOR VENT HOLE DETAIL.
2" x 12" WOOD
JOISTS, SPACED 16" O.C., BATT INSULATION - R-19
FACED (KRAFT).
RED THIN BRICK TO MATCH EXISTING BRICK
THIN BRICK/
8" CMU FOUNDATION WALL
R-20 BATT INSULATION, FACED (KRAFT).
2" x 8" SOUTHERN YELLOW PINE “D” LOG SIDING ON 1"x 3" FURRING STRIPS SPACED, 16" O.C., ON TYVEK HOUSE WRAP
2
ON 1" SHEATHING.
2"x 4" SOLE PLATE
1" x 10" ANCHOR
2
BOLT.
2" x 8" MUDSILL PLATE
1 1"
2
SHEATHING
SUBFLOOR
4
2-3"
2
31 "
3"
4
PVC VENT STRIPS, TYPICAL.
4
2-3"
METAL DRIP EDGE
PVC VENT STRIPS, TYPICAL.
4
LVL BEAM, 1 3" x 16"
1'-4"
3 4"
85 8"
1
7 4"
4
63 "

## Slide 35
LINE on DESIGN
406 CAPTAIN HARBOUR DRIVE SANFORD, NC 28332
LEE D. NELSON
linrondesign19@gmail.com 919-498-6545
owner
project title
designer of record
contact
drawing title
TOM & CHERYL SHUMACHER 479 D.L. PHILLIPS LANE BROADWAY, NC 27505
north arrow
logo
date drawn
A-27
04/14/2023
LDN
CONSTRUCT ENTRY/ SUNROOM, PORCH AND COVERED STRUCTURE OVER POOL
ELEVATION & DETAIL
4
SCALE: 3" = 1'-0"
DETAIL 1
A-27
NOTES:
1: SP, GRADE #1, 2" x 12" SPACED 16" O.C., WOOD TO WOOD HANGER , SIMPSON STRONG TIE BA1.81/11.25 WITH A MIN. OF 1,970 lb SHEAR LOAD RATED.
2. SP, GRADE #1, 2" x 12" SPACED 16" O.C., WOOD TO EXISTING GROUT FILLED CMU HANGER, SIMPSON STRONG TIE HU212, RATED FOR 2,830 lb, USE THEIR
4 4 2
TITEN TURBO 1" x 2 1" IN CMU AND 0.148" x 1 1" STD NAIL (10d) IN THE 2" x 12".
NOTE: SPEC X FOR CONCEALED FLANGES (RECOMMENDED FOR EDGE JOIST; HU212X).
ELEVATION 2
512"
3"
1114"
512"
12'
3'-6"
2
5'-41 "
2
2'-111 "
3'
6" x 6" WOOD COLUMN
LINE OF W12 x 79 STEEL BEAM
SCISSOR TRUSS, REFER TO STRUCTURAL DRAWINGS
2- 2" X 12" WOOD BEAMS SUPPORTED BY 6"x 6" WOOD COLUMNS WITH METAL CONNECTOR,
TYPICAL.
SPACED 16" O.C.
5" EXTERIOR BOARD,
8
TYPE "C" ATTACHED TO
2"x 4" WOOD STUD WALL, SPACED 16" O.C.
MOTORIZED EXTERIOR SOLAR SHADES AND HOUSING (CANISTER)
3" METAL CONDUIT
2" x 8" WOOD SIDING - YELLOW PINE
2" x 8" WOOD SIDING -
YELLOW PINE ON 1" x 3"
2
FURRING STRIPS ON 1"
SHEATHING
INSTALL 1" x TRIM 2"x 6" WOOD STUDS
6" x 6" WOOD COLUMN
6" x 6" WOOD COLUMN
2- 2" X 12" WOOD BEAMS SUPPORTED BY 6"x 6" WOOD COLUMNS WITH METAL CONNECTOR, TYPICAL.
4
WITH PULL-WIRE.
2" x 6" SILL PLATE ANCHOR TO
CONCRETE DECK
CONCRETE POOL DECK
2" x 8" WOOD SIDING - YELLOW PINE
8
5" EXTERIOR BOARD, TYPE "C".
5" EXTERIOR
8
BOARD, TYPE "C".
INSTALL 1" x TRIM
PVC VENT STRIPS, TYPICAL
INSTALL 1" x TRIM
GUARDRAIL
INSTALL 1" x TRIM
INSTALL 1" x TRIM
SD1
49 of 53
A-27
SCALE: 3 " = 1'-0"
16

## Slide 36
LINE on DESIGN
406 CAPTAIN HARBOUR DRIVE SANFORD, NC 28332
LEE D. NELSON
linrondesign19@gmail.com 919-498-6545
owner
project title
designer of record
contact
drawing title
TOM & CHERYL SHUMACHER 479 D.L. PHILLIPS LANE BROADWAY, NC 27505
north arrow
logo
date drawn
S-5
14 of 53
04/14/2023
LDN
CONSTRUCT ENTRY/ SUNROOM, PORCH AND COVERED STRUCTURE OVER POOL
SECTION & DETAIL - COVERED PORCH
SECTION - COVERED PORCH
SCALE: 1" = 1'-0"
DETAIL
SCALE: 3" = 1'-0"
12'
6'
2
51 "
3'-2"
2'-8"
512"
COVERDED PORCH EXISTING CONSTRUCTION
7'
5"
9'-07 8"
1'
1'
4"
67 8"
OPEN
CRAWL SPACE
2
1-1"
WALL
NEW OPERABLE WINDOW
EXISTING EXTERIOR
4" CONCRETE SLAB ON VAPOR BARRIER ON 4" SUB-BASE (GRAVEL OR
CRUSHED STONE) ON
COMPACTED FILL.
RED THIN BRICK / 8" CMU
BLOCK FOUNDATION WALL, FULLY GROUTED.
2" X 6" WOOD STUD WALL, SPACED 16" O.C.
12"
6" X 6" WOOD COLUMN
11"
COMPACTED FILL
2
1" EXPANSION JOINT
8" CMU FOUNDATION WALL,
FULLY GROUTED
8'-07 8"
8
11'-03 "
2
41 "
8
67 "
6'
ATTIC SPACE
43 4"
43 4"
67 8"
11'-03 8"
1" EXPANSION
2
JOINT
4" CONCRETE RAMP, MEETING BOTH SIDES WITH A SMOOTH TRANSITION.
EDGE OF CONCRETE
DECK
RED THIN BRICK EDGING.
2" x 6" WOOD STUD WALL
6" x 6" WOOD COLUMN
2" x 8" WOOD SIDING - YELLOW PINE (BOTH SIDES).
2
1" DOWEL ROD
1" x 4" WOOD TRIM, TYPICAL
2" x 6" ATTACHED TO EXISTING STRUCTURE.
812"
2" x 12" LEDGER BOARD ATTACHED TO THE EXISTING STRUCTURE.
WOOD BEAM, SEE NOTE 1. 6" X 6"
WOOD COLUMN
EXISTING EXTERIOR WALL
FIRST FLOOR
6" x 6" WOOD COLUMN
VERIFY
1'-35 8"
1
S-5
2
S-5
4"
8
1'-45 "
STANDING SEAM METAL ROOF 24-GAUGE, MECHANICALLY SEAMED, DOUBLE LOCKED ROOF SYSTEM.
2" X 12" RAFTER SPACED @ 24" O.C.
METAL DRIP EDGE
WOOD BEAM, SEE NOTE 1.
NOTE:
1. GP LVL 1.5E (2) 1 3/4” X 7.25”, SG = .43 - 50, MIN Fb = 2431 psi, Fv = 285 PSI.
DOUBLE LVL PER MANUFACTURE REQUIREMENTS.
6X6 AXIAL LOAD, T = 1300 lb (UPLIFT), C = 1562 lb.
POST CAP, TWO (2) LPC6Z SIMPSON STRONG TIE POST CAP PER COLUMN, MINIMUM 920 lb EA CONNECTOR REQUIRED FOR UPLIFT.
7'-55 8"
8'-814"
4
8

## Slide 37
LINE on DESIGN
406 CAPTAIN HARBOUR DRIVE SANFORD, NC 28332
LEE D. NELSON
linrondesign19@gmail.com 919-498-6545
owner
project title
designer of record
contact
drawing title
TOM & CHERYL SHUMACHER 479 D.L. PHILLIPS LANE BROADWAY, NC 27505
north arrow
logo
date drawn
S-7
16 of 53
04/14/2023
LDN
CONSTRUCT ENTRY/ SUNROOM, PORCH AND COVERED STRUCTURE OVER POOL
ROOF PLAN DETAIL
ROOF PLAN DETAIL
SCALE: 3"= 1'-0"
1
S-7
24" O.C.
ROOF DETAIL
SCALE: 3" = 1'-0"
2
S-7
S-7
2
24" O.C.
314"
212"
1"
312"
114"
2" x 12" WOOD RAFTERS, SPACED 24" O.C. WITH HIGH PERFORMANCE BATT INSULATION - R-38C.
ENTRY / SUNROOM
VENT HOLE
24" O.C.
2"x 4" WOOD BLOCKING
2" x 12" WOOD RAFTERS, SPACED 24" O.C. WITH HIGH PERFORMANCE BATT INSULATION - R-38C.
1
A-24
2
A-23
8

## Slide 38
LINE on DESIGN
406 CAPTAIN HARBOUR DRIVE SANFORD, NC 28332
LEE D. NELSON
linrondesign19@gmail.com 919-498-6545
owner
project title
designer of record
contact
drawing title
TOM & CHERYL SHUMACHER 479 D.L. PHILLIPS LANE BROADWAY, NC 27505
north arrow
logo
date drawn
S-8
17 of 53
04/14/2023
LDN
CONSTRUCT ENTRY/ SUNROOM, PORCH AND COVERED STRUCTURE OVER POOL
SECTION DETAILS
SECTION DETAIL
8
SCALE: 3" = 1'-0"
1
S-8
SECTION DETAIL
8
SCALE: 3"= 1'-0"
2
S-8
SECTION DETAIL
8
SCALE: 3" = 1'-0"
3
S-8
SECTION DETAIL
8
SCALE: 3" = 1'-0"
4
S-8
1'
4"
4"
75 8"
1'-35 8"
1'
4"
4"
8
1'-75 "
1'
8
75 "
4"
1'
#4 REBAR, PLACED
HORIZONTAL, 3" COVER.
RED THIN BRICK/8" CMU BLOCK
FOUNDATION WALL.
FULLY GROUTED CELLS WITH REBAR.
#4 REBAR, PLACED
VERTICALLY, 48" O.C.
CONCRETE SLAB
#4 REBAR, PLACED
HORIZONTAL, 3"
COVER.
VERTICALLY, 48" O.C.
CONCRETE SLAB
#4 REBAR, PLACED
HORIZONTAL, 3" COVER.
#4 REBAR, PLACED
HORIZONTAL, 3"
COVER.
REINFORCED CONCRETE FOOTING
CONCRETE 115 8" SLAB
REINFORCED CONCRETE FOOTING
#4 REBAR, PLACED
HORIZONTAL, 3" COVER.
CONCRETE SLAB
1" EXPANSION JOINT
#4 REBAR, PLACED HORIZONTAL.
CONCRETE SLAB
#4 REBAR, PLACED
HORIZONTAL, 3"
COVER.
#4 REBAR, PLACED
HORIZONTAL, 3" COVER.
REINFORCED CONCRETE FOOTING
#4 REBAR, PLACED
HORIZONTAL.
2
FULLY GROUTED CELLS WITH REBAR.
#4 REBAR, PLACED
VERTICALLY, 48" O.C.
HORIZONTAL REINFORCING 16" O.C., MULTI-WYTHE MASONRY FOUNDATION WALL.
#4 REBAR, PLACED HORIZONTAL.
#4 REBAR, PLACED
VERTICALLY, 48" O.C.
HORIZONTAL REINFORCING 16" O.C., MULTI-WYTHE MASONRY FOUNDATION WALL.
ANCHOR BOLT,
1" x 14"
1'-45 8"
THIN BRICK
LEDGER, NOTCH EDGE OF CONCRETE SLAB, TYPICAL
RED THIN BRICK/ 8" CMU BLOCK
FOUNDATION WALL.
HORIZONTAL REINFORCING 16" O.C.
85 8"
2
THIN BRICK
LEDGER, NOTCH EDGE OF CONCRETE SLAB, TYPICAL
RED THIN BRICK
HORIZONTAL REINFORCING 16" O.C.
8
1'-45 "
12"
85 8"
812"
2" X 6" SOLE PLATE
COMPACTED FILL 2,000 PSF, SEE NOTE 1/S-9.
COMPACTED FILL 2,000 PSF, SEE NOTE 1/S-9.
COMPACTED FILL 2,000 PSF, SEE NOTE 1/S-9.
COMPACTED FILL 2,000 PSF, SEE NOTE 1/S-9.
FULLY GROUTED CELLS WITH REBAR.
#4 REBAR, PLACED
COMPACTED FILL 2,000 PSF, SEE NOTE 1/S-9.
EXISTING FOUNDATION WALL AND FOOTING.
1" DIA. DOWEL SPACED,
2
48" O.C.
REINFORCED CONCRETE FOOTING
COMPACTED FILL 2,000 PSF, SEE NOTE 1/S-9.

## Slide 39
LINE on DESIGN
406 CAPTAIN HARBOUR DRIVE SANFORD, NC 28332
LEE D. NELSON
linrondesign19@gmail.com 919-498-6545
owner
project title
designer of record
contact
drawing title
TOM & CHERYL SHUMACHER 479 D.L. PHILLIPS LANE BROADWAY, NC 27505
north arrow
logo
date drawn
S-9
18 of 53
04/14/2023
LDN
CONSTRUCT ENTRY/ SUNROOM, PORCH AND COVERED STRUCTURE OVER POOL
SECTION DETAILS
SECTION DETAIL
8
SCALE: 3" = 1'-0"
1
S-9
SECTION DETAIL
8
SCALE: 3" = 1'-0"
2
S-9
1'-115 8"
1'
1'-4"
1'
1'-4"
1114"
1114"
512"
1'-4"
1'-4"
8
1'-35 "
#4 REBAR, PLACED
VERTICALLY, 48" O.C.
#4 REBAR, PLACED
VERTICALLY, 48" O.C.
REINFORCED CONCRETE FOOTING
REINFORCED CONCRETE FOOTING
#4 REBAR, PLACED
HORIZONTAL, 3" COVER.
#4 REBAR, PLACED
HORIZONTAL, 3" COVER.
#4 REBAR, PLACED
HORIZONTAL, 3"
COVER.
ANCHOR BOLT,
1" x 10"
1
ANCHOR BOLT,
1
2" x 10"
FULLY GROUTED CELLS WITH REBAR.
1'-45 8"
714"
85 8"
RED THIN BRICK
HORIZONTAL REINFORCEMENT
2"x 8" PLATE
CRAWL SPACE
ANCHOR BOLT,
2" x 10"
CRAWL SPACE
#4 REBAR, PLACED
VERTICALLY, 48" O.C.
2
CRAWL SPACE
FULLY GROUTED CELLS WITH REBAR.
NOTES:
8" CMU STEM WALLS:
  TYPE "S" MORTAR, fm = 2,000 psi.
  CMU, fm = 2,000 psi.
  GRADE 60 REBAR.
  #4 REBAR @ 48" O.C. IN CMU STEM WALL, GROUT FILL AROUND ALL REBAR.
  REBARS PLACED ON BACKFILL SIDE OF STEM WALL.
- REBARS 2" FROM INSIDE CMU FACE (COVER = 3 1".
4
REBAR EMBED MIN. 12" IN STRIP FOOTING WITH A
STANDARD 90-DEGREE HOOK AT 6".
REBAR LAP SPLICE IS 30".
STEM WALL BENDING DIRECTION 8" NOMINAL DIMENSION.
FOOTING MUST HAVE A MINIMUM DEPTH OF 15" (RECOMMEND 18").
STRUCTURAL BACKFILL SHALL MEET 2,000 psf, HAND
TAMP ONLY WHEN STEMS HAVE BEEN PLACED IN 6" LIFTS.
12"

## Slide 40
Attic

## Slide 41
LINE on DESIGN
406 CAPTAIN HARBOUR DRIVE SANFORD, NC 28332
LEE D. NELSON
linrondesign19@gmail.com 919-498-6545
owner
project title
designer of record
contact
drawing title
TOM & CHERYL SHUMACHER 479 D.L. PHILLIPS LANE BROADWAY, NC 27505
north arrow
logo
date drawn
A-7
25 of 53
04/14/2023
LDN
CONSTRUCT ENTRY/ SUNROOM, PORCH AND COVERED STRUCTURE OVER POOL
FLOOR PLAN - ATTIC SPACE
FLOOR PLAN - RENOVATION & ADDITION - ATTIC
ATTIC
EXISTING HVAC DUCTWORK
1'
NEW 2" x 4" WOOD STUD WALL SHALL BE CENTERED ON THE BOTTOM CHORD OF WOOD TRUSS, REFER TO NOTE 1.
CENTER LINE OF
TRUSS
EXTEND EXISTING WALL TO BOTTOM CHORD OF WOOD TRUSS WITH NEW WOOD STUD WALL.
EXTEND EXISTING WALL TO BOTTOM CHORD OF WOOD TRUSS WITH NEW WOOD STUD WALL, REFER TO NOTE 1.
312"
312"
NEW 2" x 4" WOOD STUD WALL SPACED @ 16" O.C., REFER TO NOTE 1.
NEW 2" x 4" WOOD STUD WALL SPACED @ 16" O.C.
NEW 3'-0" X 6'-8" SOLID CORE WOOD DOOR, DOOR FRAME, AND HARDWARE. PROVIDE WEATHER STRIPPING
STACK VENT
STORAGE
UP
DN
DN
NOTES:
THE CONTRACTOR MUST INSTALL 2" X 4" WOOD STUDS SPACED 16" O.C. FROM FINISH
FLOOR TO BOTTOM CHORD OF WOOD TRUSS. PLACE 1/2" GYPSUM WALLBOARD ON WALLS
AND CEILING. PROVIDE BATT INSULATION WITH A KRAFT PAPER VAPOR BARRIER.
  BATT INSULATION - WALLS: R- 20 (KRAFT).
  BATT INSULATION - CEILING: R- 49 (UNFACED).
1
A-16
200
W-1
2. REMOVE EXISTING WOOD SIDING,
SHEATHING, AND WOOD FRAMING. PREPARE
FOR NEW WINDOW. INSTALL NEW WINDOW TO INCLUDE WOOD SIDING, WOOD FRAMING,
TRIM, FLASHING, AND ASSOCIATED MATERIALS. THE CONTRACTOR SHALL VERIFY LENGTH AND HEIGHT DIMENSIONS FROM ADJACENT EXISTING DORMER WINDOWS. CENTER WINDOW OPENING ON WALL. ALIGN WINDOW SILLS IN HEIGHT AND ELEVATION.
REFER NEW WINDOW TO
SCALE: 3 " = 1'-0"
32
NOTE 2.
8 LVLs and blocking to be installed to open attic. See Engineer drawing A-16, A-16.1, 16.2

## Slide 42
LINE on DESIGN
406 CAPTAIN HARBOUR DRIVE SANFORD, NC 28332
LEE D. NELSON
linrondesign19@gmail.com 919-498-6545
owner
project title
designer of record
contact
drawing title
TOM & CHERYL SHUMACHER 479 D.L. PHILLIPS LANE BROADWAY, NC 27505
north arrow
logo
date drawn
A-16
37 of 53
04/14/2023
LDN
CONSTRUCT ENTRY/ SUNROOM, PORCH AND COVERED STRUCTURE OVER POOL
BUILDING SECTION - ATTIC SPACE
BUILDING SECTION - ATTIC SPACE
SCALE: 3 " = 1'-0"
ENTRY / SUNROOM EXISTING HOUSE
FINISH
GRADE
FINISH FLOOR ELEVATION
POOL DECK
5" +/-
8'-3"
1'
312"
FIRST FLOOR
ATTIC SPACE
EXISTING SCISSOR TRUSS
EXISTIONG HVAC DUCTWORK
EXISTING SUBFLOOR
4" WOOD BASE
1" GYPSUM
1" GYPSUM
2
WALLBOARD
ON 2" x 4" WOOD STUD WALL SPACED @ 16" O.C.
NOTES :
1. NEW WOOD STUD WALL HEIGHT MUST
BE DETERMINED BY THE 1'-0" DISTANCE FROM EXISTING HVAC DUCTWORK.
ALIGN OPPOSITE STUD WALL WITH NEW
HEIGHT.
SEE NOTE 1
VERIFY
CRAWL SPACE
CRAWL SPACE
4" WOOD BASE
2. PROVIDE BATT INSULATION PER IRC.
CEILING = R-49 FACED.
WALLS = R -20 FACED (KRAFT).
2
WALLBOARD
FINISH FLOOR
SEE NOTE 2
SEE NOTE 2
SEE NOTE 2
1
A-16
NOTE 1
100
RED THIN BRICK/8"
CMU BLOCK
FOUNDATION WALL.
EXISTING EXTERIOR WALL
16
8 LVLs and blocking to be installed to open attic. See Engineer drawings A-16.1, 16.2

## Slide 43
A-16.1

## Slide 44
A-16.2

## Slide 45
LINE on DESIGN
406 CAPTAIN HARBOUR DRIVE SANFORD, NC 28332
LEE D. NELSON
linrondesign19@gmail.com 919-498-6545
owner
project title
designer of record
contact
drawing title
TOM & CHERYL SHUMACHER 479 D.L. PHILLIPS LANE BROADWAY, NC 27505
north arrow
logo
date drawn
A-29
51 of 53
drawing sheet
04/14/2023
LDN
CONSTRUCT ENTRY/ SUNROOM, PORCH AND COVERED STRUCTURE OVER POOL
DRAWING NOTES & SPECIFICATIONS
GENERAL NOTES:
1. THE CONTRACTOR SHALL COMPLY WITH THE CURRENT EDITION OF THE NORTH CAROLINA BUILDING CODE AND THE INTERNATIONAL RESIDENTIAL CODE (IRC).
2. THE CONTRACTOR MUST FIELD VERIFY ALL SITE CONDITIONS AND DIMENSIONS.
3. DIMENSIONS FOR STUD WALLS ARE FROM FACE TO FACE OF WOOD OR METAL STUDS.
4. WOOD STUDS AND WOOD JOISTS SHALL BE A MINIMUM OF GRAD 2, UNLESS OTHERWISE INDICATED.
5. PROVIDE PRE-MANUFACTURED METAL WOOD CONNECTORS FROM SIMPSON STRONG WOOD CONNECTORS ON ALL STRUCTURAL WOOD MEMBERS TO INCLUDE JOIST HANGERS, COLUMN SUPPORTS, POST CAPS, POST BASES, BEAM CONNECTORS, ETC., ACCORDING TO PRODUCT INSTRUCTIONS AND DESIGN PURPOSE, UNLESS OTHERWISE INDICATED ON THE DRAWINGS.
6. PROVIDE “L” SHAPED ANCHOR BOLTS. ALL WOOD SILL PLATES AND SOLE PLATES SHALL BE ANCHORED TO THE FOUNDATION WALL WITH ½” ANCHOR BOLTS. ANCHOR BOLTS SHALL EXTEND NO LESS THAN 8” INTO CONCRETE OR GROUTED CELLS OF CONCRETE MASONRY UNITS (CMU), REFER TO DRAWING NOTES. THE BOLTS SHALL BE LOCATED IN THE MIDDLE THIRD OF THE WIDTH OF THE PLATE.
7. SILL PLATES AND SOLE PLATES SHALL BE PROTECTED AGAINST DECAY AND TERMITES.
8. RAFTERS SHALL BE PLACED 24” O.C., UNLESS SPECIFICALLY STATED OTHERWISE.
9. JOISTS AND STUDS SHALL BE PLACED, 16” O.C., UNLESS SPECIFICALLY STATED OTHERWISE.
10. PROVIDE CONDUIT AND PULL WIRE FOR FUTURE USE OF ELECTRICAL WORK. DO NOT SURFACE MOUNT CONDUIT ON FINISH SURFACES.
SPECIFICATIONS:
I. METAL STANDING SEAM ROOF -
A. METAL; LOW SLOPE: PROVIDE A LOW SLOPE, HYDROSTATIC (WATER HOLDING), METAL STANDING SEAM ROOF WITH A 1-1/2/12 ROOF SLOPE, 24-GAUGE, MECHANICALLY SEAMED ROOF SYSTEM. THE STANDING SEAMS SHALL BE 1-¾” - 2” IN HEIGHT, DOUBLE LOCKED. THE STANDING SEAM METAL ROOF SHALL COMPLY WITH ASTM E2140 STANDARD TEST METHOD FOR WATER PENETRATION OF METAL ROOF PANEL SYSTEMS BY STATIC WATER PRESSURE HEAD
IN ADDITION, THE ROOF SYSTEM SHALL COMPLY WITH UL 2218 - STANDARD FOR IMPACT RESISTANCE PREPARD ROOF COVERING MATERIALS, CLASS 4 (FOR HAIL DAMAGE).
B. SHEATHING: PROVIDE A HUBER ZIP SYSTEM.
C. UNDERLAYMENT: PROVIDE THE PRODUCT, SHARK SKIN SA, FULLY ADHERED, PEEL AND STICK UNDERLAYMENT.
D. VENTILATION MATT: PROVIDE A ROOF VENTILATION MAT COMPLYING WITH CEDAIR MAT.
E. ROOF JACKS: PROVIDE EPDM ROOF JACKS.
F. CENTER THE STACK VENT ON THE ROOF PANEL.
II. ASPHALT SHINGLES -
A. THE CONTRACTOR SHALL PROVIDE THE ASPHALT SHINGLES TO MATCH EXISITNG SHINGLES BY THE MANUFACTURER, PRODUCT, SERIES, STYLE, THICKNESS, AND COLOR AS THE EXISTING SHINGLE ROOF.
B. PROVIDE ASPHALT SHINGLES COMPLYING WITH OWENS CORNING - BROWNWOOD.
III. WOOD SIDING -
A. SIZE AND SERIES OF WOOD SIDING SHALL BE 2” X 8” SOUTHERN YELLOW PINE “D” LOG SIDING.
B. WOOD SIDING SHALL MATCH EXISTING WOOD SIDING IN SIZE, SHAPE, PROFILE, DESIGN, WOOD SPECIES AND FINISH.
C. WOOD SIDING SHALL BE ATTACHED TO 1” X 3” X ¾” WOOD FURRING STRIPS.
IV. PVC VENT STRIP -
A. PROVIDE EXTRUDED RIGID PVC INDUSTRY STANDARD, CHEMICALLY RESISTANT PRODUCT, DESIGNED TO PROVIDE CAVITY VENTILATION BEHIND WOOD SIDING TO WEEP OUT. THE RAINSCREEN PRODUCT CAN BE PURCHASED FROM R.H. TAMLYN & SONS, LP., PHONE # 281-499-9604.
B. THE THICKNESS SHALL BE 0.030”.
C. PROVIDE RAINSCREEN SIZE ¾”, MODEL # VSJ34.
V. THIN FULL SIZE BRICK, RED
A. PROVIDE THIN OR FULL RED BRICK ON FOUNDATION WALLS AS SHOWN.
B. THE THIN OR FULL BRICK SHALL MATCH EXISTING IN PROFILE, DESIGN, SHAPE, TEXTURE, FINISH AND COLOR.
C. PROVIDE THIN BRICK SIZE IN 8” X 2.25” X ⅝”.
D. THE THIN OR FULL BRICK SHALL HAVE A LIFETIME WARRANTY.
E. THE THIN OR FULL BRICK SHALL COURSE WITH THE EXISTING BRICK.
F. THE THIN OR FULL BRICK INSTALLATION IN A PROFESSIONAL MANNER AND SHALL BE STRAIGHT, LEVEL AND PLUMB.

## Slide 46
LINE on DESIGN
406 CAPTAIN HARBOUR DRIVE SANFORD, NC 28332
LEE D. NELSON
linrondesign19@gmail.com 919-498-6545
owner
project title
designer of record
contact
drawing title
TOM & CHERYL SHUMACHER 479 D.L. PHILLIPS LANE BROADWAY, NC 27505
drawing sheet
north arrow
logo
date drawn
A-30
52 of 53
04/14/2023
LDN
CONSTRUCT ENTRY/ SUNROOM, PORCH AND COVERED STRUCTURE OVER POOL
DRAWING NOTES & SPECIFICATIONS
VI. CONCRETE SLAB, VAPOR BARRIER AND BASE COURSE -
A. CONCRETE SLAB SHALL COMPLY WITH AMERICAN CONCRETE INSTITUTE (ACI), ACI 302.1R-15 AND ACI 360R.
B. VAPOR RETARDER/BARRIER MATERAL SHALL HAVE A WATER VAPOR TRANSMISSION RATE, NOT EXCEEDING 0.1 PERM AS DETERMINED BY ASTM E96/E96M OR ASTM F1249.
C. LAPS OR SEAMS FOR A VAPOR RETARDER/ BARRIER SHOULD BE OVERLAPPED 6-INCHES.
D. JOINTS AND PENETRATIONS SHOULD BE SEALED WITH THE MANUFACTURERS’ RECOMMENDED ADHESIVE, PRESSURE-SENSITIVE TAPE OR BOTH.
E. VAPOR RETARDER/BARRIER LOCATION SHALL BE PLACED BETWEEN THE CONCRETE FLOOR SLAB AND THE BASE COURSE.
F. BASE COURSE SHALL BE 4” THICK CONSISTING OF GRAVEL OR CRUSHED STONE.
VIII. DOORS -
A. PROVIDE EXTERIOR, FIBERGLASS DOORS BY JELD-WEN, FARMHOUSE STYLE WITH A SMOOTH DESIGN. THE EXTERIOR DOORS SHALL HAVE A SMOOTH FIBERGLASS FACING, SQUARE EDGE DESIGN. THE STILES AND RAILS SHALL BE COMPOSITE CAPPED LVL WITH A 12” LOCK BOX.
B. PROVIDE AN INTERIOR, MOLDED WOOD COMPOSITE DOOR BY JELD-WEN WITH SMOOTH DESIGN PANELS. THE DOOR FRAMING SHALL BE WOOD OR MDF FRAME.
IX. WINDOWS -
A. PROVIDE ALUMINUM SINGLE-HUNG WINDOWS BY JELD-WEN. THE BALANCE SYSTEM SHALL BE BLOCK AND TACKLE OR SPIRAL. THE CONTRACTOR MUST INSTALL THE WINDOWS LEVEL AND PLUMB.
B. PROVIDE ALUMINUM CASEMENT WINDOWS BY JELD-WEN.

## Slide 47
LINE on DESIGN
406 CAPTAIN HARBOUR DRIVE SANFORD, NC 28332
LEE D. NELSON
linrondesign19@gmail.com 919-498-6545
owner
project title
designer of record
contact
drawing title
TOM & CHERYL SHUMACHER 479 D.L. PHILLIPS LANE BROADWAY, NC 27505
drawing sheet
north arrow
logo
date drawn
A-31
53 of 53
04/14/2023
LDN
CONSTRUCT ENTRY/ SUNROOM, PORCH AND COVERED STRUCTURE OVER POOL
DRAWING NOTES & SPECIFICATIONS
XIII. EXTERIOR SOFFIT -
A. PROVIDE EXTERIOR SOFFIT SHALL BE TYPE “C” DRYWALL PANELS, 4’-0” X 8’-0” X ⅝”, 2.3 LBS/SF2, COMPLYING WITH PRODUCT STANDARD ASTM C1396.
B. CODE REFERENCE SHALL COMPLY WITH INTERNATIONAL RESIDENTIAL CODE (IRC).
C. EXTERIOR SOFFIT SHALL COMPLY WITH SURFACE BURNING CHARACTERISTIC, CLASS “A”, ASTM E84.
D. EXTERIOR SOFFIT PANELS SHALL BE MANUFACTURED BY CERTAINTEED.
XIV. FIBERGLASS INSULATION -
PROVIDE FIBERGLASS INSULATION UNFACED OR FACED (KRAFT) OR SPRAY, MANUFACTURED IN COMPLIANCE WITH ASTM C665.
FIBERGLASS INSULATION SHALL COMPLY WITH INTERNATIONAL RESIDENTIAL CODE (IRC) AND NC-IRC (CURRENT EDITION), TABLE N1102.1.2 (R402.1.2), CLIMATE ZONE 4 (EXCEPT MARINE).
C. FIBERGLASS INSULATION SHALL BE MANUFACTURED BY OWENS CORNING, “PINK NEXT GEN”, INSULATION OR SPRAY INSULATION MEETING OR EXCEEDING R VALUE SPECIFICATIONS..
XV. USG MICORE 300 -
PROVIDE MINERAL FIBERBOARD, COMPLYING WITH CLASS “A” SURFACE BURNING CHARACTERISTIC PER ASTM E84.
THE FIBERBOARD SHALL BE MANUFACTURED BY UNITED STATES GYPSUM (USG), PRODUCT MICORE - 300. THE THICKNESS SHALL BE ⅝”.
DO NOT PAINT THE FIBERBOARD.
PRODUCT IS NOT INTENDED FOR USE WITH CERAMIC TILE.
E. AVOID EXPOSURE TO EXCESSIVE OR CONTINUOUS MOISTURE.
XVI. BEADBOARD -
PROVIDE BEADBOARD FOR CEILING INSTALLATION, COMPLYING WITH THE FOLLOWING:
MDF - PREMIUM GRADE, MEDIUM DENSITY FIBERBOARD (MDF) IS A STABLE SUBSTRATE MATERIAL IDEALLY SUITED FOR INTERIOR APPLICATIONS. THE BEADBOARD SIZE SHALL BE 4’-0” X 8’-0” X ⅜”.
C. MRX - PREMIUM GRADE, EXTERIOR WATER RESISTANT PRODUCTS ARE MANUFACTURED FROM TREATED EXTERIOR WOOD COMPOSITES. MRX PRODUCTS ARE RECOMMENDED FOR MEDIUM TO HIGH HUMIDITY LOCATIONS. THE BEADBOARD SIZE SHALL BE 4’-0” X 8’-0” X ½”.