Scope of Work
Project Address: 100 W C St, Erwin, NC
Project Type:  Renovation + Electrical/Plumbing Upgrades + Bathroom Addition + Exterior / Interior Improvements

# 1. Interior Cosmetic Renovation

### 1.1 Drywall & Wall Finishes

- Repair/replace damaged drywall.

- Patch holes, cracks, and surface defects.

- Prepare surfaces and apply smooth finish for paint.

### 1.2 Interior & Exterior Paint

- Prime all repaired areas.

- Apply 2 coats of paint to walls, ceilings, trim, and doors.

### 1.3 Flooring

- Remove existing flooring where needed.

- Install new LVP and refinish hardwoods where applicable.

- Install appropriate trim/shoe molding.

### 1.4 Trim, Doors & Hardware

- Replace damaged trim/casing.

- Install new interior hardware.

- Replace interior doors.

### 1.5 Kitchen

- Replace cabinets

- Install new counters and sink/faucet.

- Update lighting as part of electrical scope.

### 1.6 Existing Bathroom

- Replace vanity, faucet, mirror, toilet, tub/ shower and fixtures as needed.

- Layout change to maximize space.

# 2. Electrical – Full Update

### 2.1 Rough-In Electrical

- Remove outdated wiring.

- Install new wiring per NEC code.

- Add new circuits as required.

- Install GFCI/AFCI protection where required.

### 2.2 Fixtures & Devices

- Install new switches, outlets, and cover plates.

- Install and wire new interior/exterior fixtures.

- Update or replace electrical panel if necessary.

# 3. Plumbing – Updated Throughout

### 3.1 Supply & Drain Lines

- Replace aging supply lines (PEX or copper).

- Replace defective drain lines.

- Ensure proper venting according to code.

### 3.2 Fixture Connections

- Connect new/existing sinks, toilets, showers, and appliances.

- Install new shut-off valves and test system for leaks.

# 4. Bathroom Addition

### 4.1 Layout & Framing

- Frame new walls for bathroom layout.

### 4.2 Plumbing Installation

- Install new supply and drain lines for toilet, vanity, and shower/tub.

- Tie into existing plumbing system with proper venting.

### 4.3 Electrical Installation

- Install GFCI outlet(s).

- Install exhaust fan/light combo.

- Install vanity light and switches.

### 4.4 Bathroom Finishes

- Install moisture-resistant drywall.

- Install waterproof flooring (tile or LVP).

- Paint walls/trim.

- Install bathroom accessories.

# 5. New Window Installation

### 5.1 Removal & Preparation

- Remove existing windows and dispose of debris.

- Inspect and repair rough openings as needed.

- Install proper flashing, moisture barrier, and insulation.

### 5.2 Installation

- Install new energy-efficient vinyl or composite windows (owner selection).

- Ensure proper seal, plumb, level, and square installation.

- Install new exterior trim and interior casing.

### 5.3 Finish Work

- Caulk, insulate, and paint trim as needed.

- Clean glass and remove debris.

# 6. Front porch footings

# 6.2 Footings

- Excavate four (4) new footings at 16” x 16” and 16” depth.

- Install forms and pour concrete

### 6.3 Framing & Structure

- Install pressure-treated posts on new footings.

### 6.4 Finishes

- Install skirting, steps, and handrails as required.

- Prime/paint or stain wood components per plan.

# 7. Final Cleanup & Punch List

- Remove all debris and construction waste.

- Sweep, vacuum, and clean interior and exterior work areas.

- Perform final walkthrough with owner and complete punch list.