FINAL DRB DECISION PACKET

# Harnett County, North Carolina

#### Planning Department

108 E. Front Street, Lillington, NC 27546

Phone: (910) 893-7525        Fax: (910) 893-2793

Development Name: GOURD SPRINGS BAPTIST CHURCH

Development Type: COMMERCIAL SITE PLAN REVIEW

Date: NOVEMBER 29, 2017

The above referenced application

SHORT TERM CONDITIONS, COMMENTS, OR JUSTIFICATIONS

The following conditions are to be rectified prior to obtaining DRB signature and are subject to change during the course of the meeting.

| Engineering (910)893-7555 Amanda Bader,abader@harnett.org : |  |
| --- | --- |
| : Rodney Daniels rdaniels@harnett.org : |  |
| : GIS@harnett.org : | - Verify the use of the new bldg. and existing blgs. - Vicinity map should be labeled with full street names and SR#s when applicable. |
| : Jay Sikes, Landon Chandler jsikes@harnett.org,lchandler@harnett.org : | - Show buffer extended along the side of the project. - All mechanical areas located on, beside, or adjacent to any building or developments shall be screened from the views of streets and adjacent property. - Add note that states “Ray Rd is on the Harnett County Comprehensive Transportation Plan” - Add note that states “This development is within the five mile Military Corridor Overlay Zone, and may be subject to military training activities.” |
| : Shane Cummings scummings@harnett.org : | - The Preliminary Plan Fee payment of $250 should be submitted to HCDPU. - The calculated water usage should be noted on the site plan. - The new building will require a new water service. - The proposed and existing water service size and locations should be noted on the site plan. - The backflow preventer’s makes and models should be included on the site plans. - HCDPU Utility notes and water service details must be included on the site plan construction packet if a private utility contractor installs the services. - Final Construction drawings must be submitted to HCDPU for review and approval if a licensed contractor will install the water service. A construction fee payment of $40 per Residential Equivalent Unit must accompany the Plan Review Packet. - Include the note for a utility contractor or HCDPU to install the water and sewer services. - Revise Note 4 to reflect a new water service requirement. - Note the existing water main PVC. - Note the separation between the existing water main and the new force main. The new sewer main must be in accordance with Rules Governing Public Water Systems (15A NCAC 18C) Section .0906 (b) Relation of Water Mains to Sewers. Note the force main installation method crossing Ray Road. |
| : Oliver Tolksdorf,otolksdorf@harnett.org : | - Will need documentation of all approvals stating you can cross road for septic tank. |

LONG RANGE CONDITIONS

The following conditions must be satisfied

| - Must meet all requirements set forth by NC DENR. Contact at (910)433-3300. |  |
| --- | --- |
| : | - Please visit www.harnett.org/utilities for more information on the approval process. - Capacity fees for the water and sewer must be paid prior to permits being processed for water and sewer extensions in accordance with the Harnett County Water and Sewer Use Ordinance. - Utility Improvements must be designed and installed in accordance with the latest Harnett County and State requirements. - The Utility Contractor must provide HCDPU with a one (1) year warranty on the water and sanitary sewer utilities to cover any and all repairs due to poor workmanship, defective materials or anything that does not meet HCDPU Standards and Specifications at the time the work was performed to install the water and sanitary sewer utilities. - No services will be activated until all utilites are approved in accordance with State regulation and the latest HCDPU rules a regulations. |
| : |  |
| : |  |
| : |  |
| : |  |

A FINAL copy, consisting of any corrections, etc., will be sent after the meeting.

Upon resubmittal, additional comments/ corrections may be required.

**Please remember all applicable fee’s**

- If APPROVED, your signed plat/plan may be picked up at the Planning Department or will be mailed to you within two (2) business days.

- If APPROVED WITH CONDITIONS, you must submit 5 copies of the plat/plan to the Planning Department showing that all items listed under Short Term Conditions have been rectified. Please be aware that review will not be done while you wait, as all DRB members will have to review the plat/plan for compliance.

- If HELD, you must submit 5 copies of the plat/plan showing that all items listed under Short Term Conditions have been rectified. To attend the next DRB meeting, revised plat/plans must be submitted by noon on Wednesday following the meeting the application was put on hold.

- If DENIED, you may appeal the Board’s Decision to the Harnett County Planning Board within 30 days or meet with Planning Staff to discuss other potential options.