FINAL DRB DECISION PACKET

# Harnett County, North Carolina

#### Planning Department

108 E. Front Street, Lillington, NC 27546

Phone: (910) 893-7525        Fax: (910) 893-2793

Development Name: CLOVELLY SOLAR, LLC

Development Type: COMMERCIAL SITE PLAN REVIEW

Date: SEPTEMBER 6, 2017

The above referenced application

SHORT TERM CONDITIONS, COMMENTS, OR JUSTIFICATIONS

The following conditions are to be rectified prior to obtaining DRB signature and are subject to change during the course of the meeting.

| Engineering (910)893-7555 Amanda Bader,abader@harnett.org: approve | There is a history of flooding downstream on properties along Cedar Grove School Road. Please consider permanently diverting runoff from this project, specifically Drainage Areas 4 and 5 on sheet C7 through C7.2 of the site plan, into the pond on the southwest corner of the site through the vegetative buffer along the southern boundary. |
| --- | --- |
| : Rodney Daniels rdaniels@harnett.org : approve |  |
| : GIS@harnett.org : approve | - Address will be assigned once project has received final approval. |
| : Jay Sikes, Landon Chandler jsikes@harnett.org,lchandler@harnett.org: Conditionally approve | - A Recombination plat will be required for whole project to be on one parcel. - Correct zoning district on sheet C3 (should be RA-30) - With the legend, “Existing Conditions”…remove 100 yr floodplain - Add a note that states “This property is within the WS-IV district. Projects without curb and gutter system shall not exceed thirty-six percent (36%) built-upon area.” - Note Landuse Class = Medium Density Residential - Add a note that states “Conditional Use Permit #BA-CU-14-16, approved 8/8/16” - A graveled parking area (2 spaces) is required with stop blocks in front of the parking spaces. - Add note that states “This development is within one mile of a Voluntary Agricultural District.” - Note who will be responsible for maintenance of the parking areas, drive aisles, and all landscape buffering. - Ensure all arrays will be outside of all buffer areas. - Solar power electric generation structures shall not exceed 25 feet in height - Applications for grid-intertie photovoltaic systems or facilities shall include evidence that the owner(s) or operator(s) has been approved by the appropriate utility company to install an interconnected customer-owned generator. Installation of systems or facilities shall not occur until this evidence has been supplied - Please provided approved NCDOT driveway permit, or verification that one is not needed. - Add Owner signature, example… As the owner of record, I hereby formally consent to the proposed development shown on this site plan and all regulations and requirements of the Harnett County ordinances. ______________________________________ Date Owner/ Agent Signature |
| : Shane Cummings scummings@harnett.org: |  |
| : Oliver Tolksdorf,otolksdorf@harnett.org: approve |  |

LONG RANGE CONDITIONS

The following conditions must be satisfied

| - Must meet all requirements set forth by NC DENR. Contact at (910)433-3300. |  |
| --- | --- |
| : |  |
| : |  |
| : |  |
| : |  |
| : |  |

Development Review Board Chairman

A FINAL copy, consisting of any corrections, etc., will be sent after the meeting.

Upon resubmittal, additional comments/ corrections may be required.

**Please remember all applicable fee’s**

- If APPROVED, your signed plat/plan may be picked up at the Planning Department or will be mailed to you within two (2) business days.

- If APPROVED WITH CONDITIONS, you must submit 5 copies of the plat/plan to the Planning Department showing that all items listed under Short Term Conditions have been rectified. Please be aware that review will not be done while you wait, as all DRB members will have to review the plat/plan for compliance.

- If HELD, you must submit 5 copies of the plat/plan showing that all items listed under Short Term Conditions have been rectified. To attend the next DRB meeting, revised plat/plans must be submitted by noon on Wednesday following the meeting the application was put on hold.

- If DENIED, you may appeal the Board’s Decision to the Harnett County Planning Board within 30 days or meet with Planning Staff to discuss other potential options.