Fire Marshal Division

April 3, 2017

Brian Jones

107 Edinburgh S. Drive, Suite 201

Cary, NC 27511

Re: 	Bolick Health Center at Camp Agape

Application Number 16-50039052

To whom it may concern,

Thank you for submitting the plans for the Bolick Health Center at Camp Agape. The plans have been carefully reviewed by a qualified code enforcement official to examine for compliance with the North Carolina Fire Prevention Code and all other fire protection regulatory documents.  There are some items that were found during the plan review process that need to be addressed before a final inspection of the new facility can be given.  These items are outlined and described below.

Plan Review Notes

- 906.1  Fire Extinguishers

- All fire extinguishers shall be properly mounted and tagged by a fire extinguisher company.

- 506.1  Knox Box

- The installation of a Knox box, key box is required and can be ordered on line by clicking the link below.

- An existing complex Knox Box may be used if available.

- https://www.knoxbox.com/store/Knox-Box-3200-Series.cfm

- 505.1  Address Numbers

- Install physical address numbers on the building.

- The numbers are to be visible from the street 6” minimum height required.

Notes:

- Fire Final Inspection required.

*Please schedule all fire inspections with the Fire Marshal’s office*

910-893-0743

Thank you again for submitting the plans for the Bolick Health Center at Camp Agape. Please review the plans and adhere to any notes and alterations that were made in addition to the original drawings.  These remarks are for the plans that were submitted and its original intent. These remarks do not apply if the original intent changes or what was submitted on the above date changes. If you have any questions, please do not hesitate to call this office.

Sincerely,

Rodney Daniels

Rodney Daniels

Chief Deputy Fire Marshal