**Lillington (24-0013)**

**Change Narrative**

28 April 2025

1. **Architectural & Structural:**
	1. T1.1, T1.2, A1.1, A2.1, A3.1, A4.1, A6.1, A6.2, A6.3, A7.1, A7.2, A8.1, A8.2, A8.3, S2.1, S2.2, S2.3, S2.4, S3.3, S4.2
		1. Gray brick in lieu of manufactured stone, base of wall
		2. Chamfered brick sill in lieu of stone sill
		3. Rectangular openings in lieu of arched openings, typical
		4. Brick in lieu of EIFS at window and door openings, typical
		5. Flat metal awning in lieu of arched opening at main entrance
		6. Brick in lieu of EIFS at parapet caps; EIFS to remain at building transition
		7. Overhead doors, typical (6) in lieu of bifold doors
		8. Plastic laminate in lieu of quartz countertops
		9. Sealed concrete in lieu of coating in apparatus bay
		10. PEMB wind girt elevations, and lintel sizing coordinated
		11. General coordination between trades
2. **Mechanical, Electrical, Plumbing, & Fire Protection:**
	1. M0.1, M0.2, M1.1, M1.2, M1.3, M1.4, E1.1, E1.2, E2.1, E3.1, E3.2, P1.1, P1.2
		1. Sprinkler riser relocated to NE corner of apparatus bay
			1. Floor drain locations updated accordingly
		2. Water service location revised
		3. Electrical panels moved to SW of apparatus bay
		4. Plymovent and air compressor by Owner
		5. Mifab BIG-500-O oil separator accepted alternate to Stream OT-500 560 Gal
		6. Reduced generator sizing, 250kw to 200kw
		7. Light fixture selection revised
		8. Aluminum feeder in lieu of copper feeder
		9. Aluminum jacketing for outdoor refrigerant piping
		10. Moved transformer location, SW site
		11. General coordination between trades
3. **Site:**
	1. C0.00, C3.01, C3.91, C3.92, C5.00, C5.50, C6.00, C6.90, C6.91, L7.00
		1. Remove turn down footing for sidewalks
		2. Washed stone in lieu of river rock
		3. Privacy wood fence in lieu of masonry screen wall
		4. Water service location revised
		5. Relocation of fire hydrant and reducing waterline sizing
		6. General coordination between trades

**PREPARED BY:**

**Madeline Thompson**

Project Designer I

(919) 964-1624

www.bobbitt.com | madeline.thompson@bobbitt.com