Fire Marshal Division

September 11, 2025

Gill Security

818 Ramsey Street

Fayetteville, NC 28301

Re:	Dunn Alliance Center

600 S Magnolia Avenue

Dunn, NC 28334

Application Number FMFW2509-0008

To Whom It May Concern,

Thank you for submitting the fire alarm system cell dialer. The request for change has been carefully reviewed by a qualified code enforcement official to examine for compliance with the North Carolina Fire Prevention Code and all other fire protection regulatory documents.  There are some items that need to be addressed before a final inspection of the new panel can be given.  These items are outlined and described below.

- Fire Alarm System Upgrade Notes

- All items in notes are to be completed at the time of final.

- Provide a record of completion.

- The Fire marshal’s office will complete an acceptance test at completion of project.

- Provide a copy of account history after the acceptance test is completed and approved.

- Provide an accurate zone map at the FACP and remote annunciator panel.

- All work/installation shall be compliant with the NC Fire Code and NFPA 72.

- Call the Harnett County Planning and Inspections Office to schedule all inspections.

- Thank you again for submitting the fire alarm system cell dialer.  Please review and adhere to any notes.  These remarks are for the paperwork that was submitted and its original intent. These remarks do not apply if the original intent changes or what was submitted on the above date changes. If you have any questions, please do not hesitate to call this office.

Again, thank you and we look forward to working with you during the construction period!

Sincerely,

Matthew Starling

Deputy Fire Marshal

910-893-0742

mstarling@harnett.org