[image: image1.jpg]




Fire Marshal Division

November 18, 2025
BFPE International
115 Best wood Dr.

Clayton, NC 27520

Re:
Nehemiah Building Ministries

2225 NC 55 E


Dunn, NC 28334

Application Number FMFW2511-0013
To Whom It May Concern,
Thank you for submitting the fire alarm system upgrade. The request for change has been carefully reviewed by a qualified code enforcement official to examine for compliance with the North Carolina Fire Prevention Code and all other fire protection regulatory documents.  There are some items that need to be addressed before a final inspection of the new panel can be given.  These items are outlined and described below.
· Fire Alarm System Upgrade Notes

All items in notes are to be completed at the time of final.

· Provide a record of completion.
· The Fire marshal’s office will complete an acceptance test at completion of project. 
· Provide a copy of account history after the acceptance test is completed and approve.
· Provide an accurate zone map at the FACP and remote annunciator panel.
· All work/installation shall be compliant with the NCSFC and NFPA 72.
· Call Harnett County Central Permitting office to schedule the fire alarm acceptance test. (910-893-7525 opt. 1)
Thank you again for submitting the fire alarm system upgrade.  Please review and adhere to any notes.  These remarks are for the paperwork that was submitted and its original intent. These remarks do not apply if the original intent changes or what was submitted on the above date changes. If you have any questions, please do not hesitate to call this office. 

Sincerely,

Leslie Jackson
Leslie Jackson
Chief Deputy Fire Marshal

lrjackson@harnett.org
