# Dixie-Denning Supply Co.

# 705 South Wall Street

# Benson, NC 27504

Ph. 919-894-3824

## Fax 919-894-2871

TO: PRESSURE TEST REPORT

Date: __10/30/2025	_____

Harnett County Inspections

We have run a pressure test at 135 Dry Creek Rd Lillington, NC

The pressure test was held @ 15psi for 20mins. Gas line is buried 16 inches in depth.

Dixie Denning supplied carbon monoxide detector ______.

Customer already had a carbon monoxide detector ___X___.

Sincerely,

Mike Denning

License # 21095

Permit #__MCOM2505-0006__