PO Box 65

108 E. Front Street

Lillington, NC 27546

Ph: (910) 893- 7525 opt. 4

Fax: (910) 814-6459

| Date of Submittal | Application Number | Applicant | Landowner |
| --- | --- | --- | --- |
| 1/21/2025 | SIGN2501-0003 | Advance Signs | Chalybeate Springs Baptist Church |

| Contact Person | Debbie Landell | Contact Number | 919-639-4666 |
| --- | --- | --- | --- |
| Sign Location | 238 Chalybeate Road | PIN Number | 0653-49-5363.000 |

| Proposed Sign |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Type | Dimensions |  | Location / Setbacks |  | Illumination |  |  |
| ☐ Wall ☐ Ground ☒ Monument ☐ Directory ☐ Outdoor Advertising | Length N/A Width 14' Height 6' 5" Total Sq. Ft. 91 |  | Existing Location @ Intersection of Baptist Grove & Chalybeate |  | ☐ None ☐ External ☒ Internal ☒ Electronic Message |  |  |
| Total Length of Wall | N/A |  | Total Size of Project / Parcel |  |  |  | ☐ Less Than 1 Acre ☒ Greater Than 1 Acre |
| Total Sq. Ft. Electronic Message Display |  | 24 sq. ft. |  | Pole Style Ground Sign Encasement |  | Material N/A Width N/A |  |

| Current Signage |  |  |  |
| --- | --- | --- | --- |
| Current Wall Signs | Current Ground Signs | Distance Between Signs On Property | Distance Between Outdoor Advertising Signs |
| N/A | 1 | N/A | N/A |

| Reviewed By: | Date of Review | Review Results |
| --- | --- | --- |
| Randy Baker | 1/27/2025 | ☒ Approved ☐ Denied |

| Comments | Sign alterations do not increase any possible nonconformities that may be associated with the current location of the sign. The electronic message center is in compliance with the current regulations pertaining to overall size and percentage of sign space. |
| --- | --- |